## Raw Data
Z (stage position) | Theta (degrees) | Phi (degrees) | B_total (G, offset-corrected) | Standard Error (G) | Bx_unit | By_unit | Bz_unit | Timestamp
100 | 0 | 100 | 156.3978 | 0.12329 | -0.69205 | -0.0062333 | 0.72182 | 2026-05-18 16:55:46
90 | 0 | 100 | 194.9724 | 0.1172 | -0.6906 | -0.0053206 | 0.72322 | 2026-05-18 16:56:16
80 | 0 | 100 | 246.317 | 0.1209 | -0.68938 | -0.0065263 | 0.72437 | 2026-05-18 16:56:40
70 | 0 | 100 | 317.6111 | 0.12007 | -0.6909 | -0.004505 | 0.72294 | 2026-05-18 16:57:10
60 | 0 | 100 | 417.8201 | 0.11375 | -0.6914 | -0.0010301 | 0.72247 | 2026-05-18 16:57:33
50 | 0 | 100 | 559.9288 | 0.12073 | -0.69125 | 0.00065332 | 0.72261 | 2026-05-18 16:57:57
55 | 0 | 100 | 483.374 | 0.12094 | -0.69152 | 0.000673 | 0.72236 | 2026-05-18 16:59:10
40 | 0 | 90 | 772.7464 | 0.11913 | -0.80542 | 0.002923 | 0.5927 | 2026-05-18 16:59:57
34 | 0 | 80 | 947.5522 | 0.12047 | -0.89526 | 0.0028658 | 0.44554 | 2026-05-18 17:01:24
24 | 0 | 70 | 1379.3405 | 0.12658 | -0.95948 | 0.0030794 | 0.28174 | 2026-05-18 17:31:26
17 | 0 | 60 | 1840.3379 | 0.126 | -0.99388 | 0.0022634 | 0.11045 | 2026-05-18 17:32:20
12 | 0 | 53 | 2291.7662 | 0.13127 | -0.99992 | 0.0014089 | -0.012499 | 2026-05-18 17:33:43
15 | 0 | 50 | 2005.5214 | 0.12698 | -0.99788 | 0.00087499 | -0.065057 | 2026-05-18 17:34:15
22 | 0 | 40 | 1492.9425 | 0.12592 | -0.97111 | -0.00021798 | -0.23864 | 2026-05-18 17:35:26
30 | 0 | 30 | 1093.7185 | 0.11982 | -0.91468 | -0.0022035 | -0.40416 | 2026-05-18 17:35:57
40 | 0 | 20 | 770.4879 | 0.12686 | -0.83141 | -0.0050842 | -0.55564 | 2026-05-18 17:36:36
50 | 0 | 10 | 558.3726 | 0.11624 | -0.72277 | -0.0084743 | -0.69103 | 2026-05-18 17:37:09
70 | 0 | 0 | 316.8959 | 0.11993 | -0.59445 | -0.015596 | -0.80398 | 2026-05-18 17:38:26

## Calibration Matrix
Z \ Phi | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100
100 | 156.006 | 156.087 | 156.161 | 156.24 | 156.31 | 156.365 | 156.406 | 156.431 | 156.444 | 156.45 | 156.447 | 156.502 | 156.551 | 156.593 | 156.626 | 156.646 | 156.653 | 156.646 | 156.624 | 156.589 | 156.535 | 156.559 | 156.565 | 156.56 | 156.545 | 156.521 | 156.489 | 156.452 | 156.408 | 156.363 | 156.297 | 156.374 | 156.425 | 156.466 | 156.49 | 156.493 | 156.494 | 156.473 | 156.436 | 156.392 | 156.34 | 156.365 | 156.388 | 156.412 | 156.429 | 156.402 | 156.466 | 156.485 | 156.494 | 156.497 | 156.464 | 156.528 | 156.529 | 156.505 | 156.483 | 156.443 | 156.449 | 156.449 | 156.455 | 156.468 | 156.487 | 156.507 | 156.528 | 156.548 | 156.562 | 156.569 | 156.567 | 156.554 | 156.531 | 156.502 | 156.459 | 156.56 | 156.644 | 156.718 | 156.776 | 156.822 | 156.822 | 156.812 | 156.788 | 156.755 | 156.699 | 156.74 | 156.76 | 156.776 | 156.786 | 156.788 | 156.783 | 156.768 | 156.744 | 156.711 | 156.665 | 156.694 | 156.709 | 156.711 | 156.7 | 156.673 | 156.631 | 156.577 | 156.517 | 156.463 | 156.3978
99 | 159.366 | 159.39 | 159.463 | 159.54 | 159.607 | 159.66 | 159.698 | 159.722 | 159.735 | 159.74 | 159.752 | 159.791 | 159.838 | 159.88 | 159.913 | 159.935 | 159.944 | 159.94 | 159.922 | 159.891 | 159.862 | 159.862 | 159.864 | 159.857 | 159.841 | 159.816 | 159.786 | 159.753 | 159.717 | 159.681 | 159.661 | 159.697 | 159.746 | 159.785 | 159.809 | 159.816 | 159.811 | 159.789 | 159.751 | 159.707 | 159.673 | 159.678 | 159.701 | 159.73 | 159.757 | 159.773 | 159.796 | 159.81 | 159.823 | 159.837 | 159.853 | 159.887 | 159.893 | 159.817 | 159.832 | 159.79 | 159.76 | 159.747 | 159.745 | 159.753 | 159.768 | 159.788 | 159.811 | 159.833 | 159.851 | 159.862 | 159.865 | 159.858 | 159.842 | 159.82 | 159.817 | 159.878 | 159.956 | 160.024 | 160.076 | 160.108 | 160.115 | 160.106 | 160.083 | 160.052 | 160.027 | 160.033 | 160.047 | 160.057 | 160.065 | 160.066 | 160.061 | 160.049 | 160.028 | 159.999 | 159.976 | 159.986 | 159.998 | 159.999 | 159.986 | 159.959 | 159.918 | 159.865 | 159.806 | 159.752 | 159.775
98 | 162.797 | 162.815 | 162.881 | 162.952 | 163.013 | 163.062 | 163.097 | 163.119 | 163.13 | 163.136 | 163.149 | 163.184 | 163.228 | 163.269 | 163.301 | 163.324 | 163.336 | 163.336 | 163.323 | 163.299 | 163.276 | 163.271 | 163.268 | 163.256 | 163.237 | 163.212 | 163.184 | 163.156 | 163.129 | 163.107 | 163.1 | 163.13 | 163.171 | 163.207 | 163.231 | 163.239 | 163.232 | 163.209 | 163.17 | 163.126 | 163.094 | 163.095 | 163.116 | 163.148 | 163.187 | 163.217 | 163.228 | 163.233 | 163.25 | 163.279 | 163.315 | 163.353 | 163.368 | 163.272 | 163.294 | 163.226 | 163.173 | 163.144 | 163.133 | 163.136 | 163.149 | 163.169 | 163.194 | 163.219 | 163.24 | 163.257 | 163.267 | 163.268 | 163.261 | 163.249 | 163.255 | 163.308 | 163.377 | 163.435 | 163.478 | 163.502 | 163.509 | 163.501 | 163.482 | 163.457 | 163.436 | 163.432 | 163.436 | 163.441 | 163.445 | 163.445 | 163.442 | 163.433 | 163.416 | 163.394 | 163.377 | 163.383 | 163.393 | 163.392 | 163.378 | 163.352 | 163.313 | 163.263 | 163.209 | 163.161 | 163.123
97 | 166.351 | 166.365 | 166.419 | 166.479 | 166.533 | 166.575 | 166.606 | 166.626 | 166.636 | 166.643 | 166.656 | 166.687 | 166.726 | 166.764 | 166.795 | 166.819 | 166.834 | 166.838 | 166.833 | 166.817 | 166.799 | 166.789 | 166.778 | 166.761 | 166.738 | 166.712 | 166.687 | 166.665 | 166.649 | 166.642 | 166.649 | 166.671 | 166.704 | 166.736 | 166.759 | 166.768 | 166.76 | 166.734 | 166.696 | 166.654 | 166.624 | 166.619 | 166.635 | 166.668 | 166.718 | 166.763 | 166.76 | 166.756 | 166.776 | 166.822 | 166.879 | 166.922 | 166.953 | 166.924 | 166.866 | 166.764 | 166.688 | 166.644 | 166.624 | 166.621 | 166.631 | 166.652 | 166.679 | 166.707 | 166.733 | 166.756 | 166.773 | 166.784 | 166.789 | 166.79 | 166.805 | 166.85 | 166.906 | 166.953 | 166.984 | 167 | 167.007 | 167 | 166.984 | 166.966 | 166.951 | 166.938 | 166.931 | 166.929 | 166.928 | 166.928 | 166.926 | 166.921 | 166.912 | 166.898 | 166.888 | 166.892 | 166.897 | 166.894 | 166.879 | 166.855 | 166.82 | 166.776 | 166.729 | 166.692 | 166.662
96 | 170.028 | 170.039 | 170.079 | 170.125 | 170.168 | 170.203 | 170.228 | 170.245 | 170.254 | 170.261 | 170.275 | 170.301 | 170.335 | 170.369 | 170.398 | 170.422 | 170.439 | 170.45 | 170.452 | 170.446 | 170.433 | 170.418 | 170.398 | 170.373 | 170.345 | 170.319 | 170.296 | 170.281 | 170.276 | 170.286 | 170.307 | 170.322 | 170.345 | 170.373 | 170.396 | 170.406 | 170.396 | 170.369 | 170.331 | 170.291 | 170.261 | 170.252 | 170.261 | 170.291 | 170.347 | 170.407 | 170.386 | 170.375 | 170.4 | 170.461 | 170.539 | 170.584 | 170.638 | 170.707 | 170.542 | 170.404 | 170.306 | 170.249 | 170.221 | 170.213 | 170.221 | 170.242 | 170.271 | 170.302 | 170.334 | 170.363 | 170.389 | 170.411 | 170.43 | 170.446 | 170.469 | 170.506 | 170.547 | 170.581 | 170.601 | 170.608 | 170.613 | 170.608 | 170.594 | 170.582 | 170.573 | 170.55 | 170.532 | 170.523 | 170.519 | 170.518 | 170.519 | 170.519 | 170.517 | 170.514 | 170.511 | 170.513 | 170.514 | 170.507 | 170.493 | 170.472 | 170.442 | 170.406 | 170.369 | 170.344 | 170.487
95 | 173.83 | 173.838 | 173.863 | 173.895 | 173.925 | 173.95 | 173.969 | 173.982 | 173.991 | 173.998 | 174.01 | 174.031 | 174.059 | 174.087 | 174.114 | 174.138 | 174.157 | 174.173 | 174.184 | 174.188 | 174.18 | 174.159 | 174.13 | 174.096 | 174.063 | 174.035 | 174.015 | 174.006 | 174.013 | 174.038 | 174.093 | 174.081 | 174.096 | 174.12 | 174.144 | 174.156 | 174.145 | 174.116 | 174.079 | 174.042 | 174.012 | 173.996 | 173.997 | 174.019 | 174.072 | 174.219 | 174.107 | 174.094 | 174.123 | 174.192 | 174.342 | 174.332 | 174.407 | 174.488 | 174.308 | 174.14 | 174.027 | 173.961 | 173.927 | 173.915 | 173.921 | 173.943 | 173.974 | 174.01 | 174.046 | 174.081 | 174.117 | 174.151 | 174.185 | 174.218 | 174.249 | 174.278 | 174.304 | 174.324 | 174.334 | 174.313 | 174.334 | 174.326 | 174.313 | 174.305 | 174.326 | 174.268 | 174.242 | 174.228 | 174.22 | 174.219 | 174.222 | 174.228 | 174.236 | 174.243 | 174.249 | 174.249 | 174.245 | 174.236 | 174.223 | 174.205 | 174.183 | 174.157 | 174.131 | 174.115 | 174.026
94 | 177.757 | 177.763 | 177.771 | 177.786 | 177.802 | 177.817 | 177.829 | 177.838 | 177.845 | 177.853 | 177.864 | 177.88 | 177.9 | 177.923 | 177.946 | 177.968 | 177.99 | 178.011 | 178.031 | 178.046 | 178.043 | 178.017 | 177.976 | 177.933 | 177.895 | 177.866 | 177.847 | 177.845 | 177.862 | 177.9 | 177.941 | 177.95 | 177.959 | 177.981 | 178.007 | 178.02 | 178.007 | 177.977 | 177.941 | 177.907 | 177.877 | 177.854 | 177.842 | 177.852 | 177.89 | 177.941 | 177.918 | 177.912 | 177.944 | 178.011 | 178.097 | 178.156 | 178.246 | 178.442 | 178.149 | 177.971 | 177.853 | 177.783 | 177.746 | 177.731 | 177.735 | 177.757 | 177.792 | 177.831 | 177.872 | 177.914 | 177.958 | 178.005 | 178.055 | 178.106 | 178.146 | 178.166 | 178.175 | 178.182 | 178.185 | 178.179 | 178.173 | 178.159 | 178.144 | 178.135 | 178.126 | 178.094 | 178.065 | 178.046 | 178.036 | 178.035 | 178.041 | 178.053 | 178.071 | 178.091 | 178.105 | 178.105 | 178.096 | 178.086 | 178.074 | 178.061 | 178.047 | 178.032 | 178.019 | 178.012 | 178.036
93 | 181.811 | 181.813 | 181.806 | 181.802 | 181.805 | 181.809 | 181.814 | 181.819 | 181.824 | 181.831 | 181.84 | 181.85 | 181.863 | 181.879 | 181.897 | 181.918 | 181.941 | 181.967 | 181.995 | 182.02 | 182.024 | 181.991 | 181.939 | 181.887 | 181.844 | 181.812 | 181.795 | 181.798 | 181.823 | 181.871 | 181.918 | 181.928 | 181.933 | 181.954 | 181.983 | 182 | 181.986 | 181.953 | 181.919 | 181.888 | 181.859 | 181.827 | 181.803 | 181.795 | 181.81 | 181.833 | 181.828 | 181.835 | 181.867 | 181.925 | 181.995 | 182.058 | 182.146 | 182.212 | 182.058 | 181.895 | 181.784 | 181.717 | 181.68 | 181.664 | 181.668 | 181.693 | 181.73 | 181.772 | 181.818 | 181.867 | 181.919 | 181.978 | 182.044 | 182.111 | 182.161 | 182.171 | 182.163 | 182.157 | 182.155 | 182.147 | 182.13 | 182.107 | 182.088 | 182.075 | 182.061 | 182.032 | 182.002 | 181.98 | 181.969 | 181.969 | 181.978 | 181.997 | 182.025 | 182.058 | 182.082 | 182.08 | 182.068 | 182.056 | 182.047 | 182.04 | 182.035 | 182.032 | 182.032 | 182.036 | 182.051
92 | 185.991 | 185.991 | 185.966 | 185.947 | 185.935 | 185.929 | 185.926 | 185.927 | 185.93 | 185.936 | 185.943 | 185.946 | 185.951 | 185.96 | 185.973 | 185.991 | 186.014 | 186.044 | 186.079 | 186.114 | 186.126 | 186.085 | 186.021 | 185.961 | 185.913 | 185.88 | 185.864 | 185.871 | 185.902 | 185.958 | 186.01 | 186.019 | 186.023 | 186.044 | 186.078 | 186.099 | 186.083 | 186.05 | 186.017 | 185.99 | 185.961 | 185.921 | 185.882 | 185.855 | 185.84 | 185.835 | 185.848 | 185.87 | 185.902 | 185.945 | 185.994 | 186.052 | 186.116 | 186.224 | 186.04 | 185.918 | 185.828 | 185.771 | 185.737 | 185.722 | 185.725 | 185.753 | 185.793 | 185.838 | 185.888 | 185.942 | 186.003 | 186.073 | 186.152 | 186.236 | 186.296 | 186.293 | 186.268 | 186.25 | 186.243 | 186.236 | 186.206 | 186.172 | 186.148 | 186.131 | 186.112 | 186.086 | 186.057 | 186.035 | 186.024 | 186.025 | 186.038 | 186.064 | 186.101 | 186.148 | 186.183 | 186.18 | 186.164 | 186.153 | 186.148 | 186.149 | 186.154 | 186.164 | 186.178 | 186.192 | 186.179
91 | 190.297 | 190.292 | 190.255 | 190.222 | 190.197 | 190.181 | 190.171 | 190.167 | 190.167 | 190.172 | 190.177 | 190.172 | 190.169 | 190.17 | 190.177 | 190.191 | 190.214 | 190.245 | 190.285 | 190.328 | 190.347 | 190.296 | 190.224 | 190.158 | 190.106 | 190.071 | 190.056 | 190.064 | 190.098 | 190.158 | 190.217 | 190.225 | 190.229 | 190.254 | 190.292 | 190.319 | 190.301 | 190.267 | 190.236 | 190.213 | 190.186 | 190.136 | 190.083 | 190.037 | 189.993 | 189.958 | 189.989 | 190.025 | 190.056 | 190.081 | 190.105 | 190.15 | 190.174 | 190.189 | 190.115 | 190.05 | 189.99 | 189.948 | 189.921 | 189.908 | 189.912 | 189.942 | 189.985 | 190.033 | 190.086 | 190.144 | 190.212 | 190.29 | 190.381 | 190.479 | 190.549 | 190.532 | 190.49 | 190.459 | 190.449 | 190.443 | 190.4 | 190.359 | 190.331 | 190.31 | 190.288 | 190.264 | 190.238 | 190.216 | 190.205 | 190.207 | 190.223 | 190.255 | 190.303 | 190.36 | 190.408 | 190.404 | 190.388 | 190.378 | 190.378 | 190.387 | 190.404 | 190.427 | 190.456 | 190.482 | 190.452
90 | 194.774 | 194.716 | 194.672 | 194.628 | 194.593 | 194.567 | 194.55 | 194.542 | 194.539 | 194.542 | 194.55 | 194.532 | 194.52 | 194.513 | 194.513 | 194.522 | 194.542 | 194.574 | 194.615 | 194.662 | 194.724 | 194.629 | 194.551 | 194.481 | 194.427 | 194.391 | 194.376 | 194.384 | 194.418 | 194.477 | 194.575 | 194.547 | 194.556 | 194.585 | 194.627 | 194.683 | 194.641 | 194.608 | 194.58 | 194.559 | 194.555 | 194.476 | 194.412 | 194.35 | 194.285 | 194.158 | 194.269 | 194.313 | 194.341 | 194.351 | 194.313 | 194.375 | 194.357 | 194.07 | 194.313 | 194.303 | 194.28 | 194.255 | 194.237 | 194.229 | 194.228 | 194.266 | 194.31 | 194.36 | 194.414 | 194.477 | 194.549 | 194.634 | 194.732 | 194.837 | 194.965 | 194.886 | 194.831 | 194.789 | 194.771 | 194.812 | 194.711 | 194.667 | 194.639 | 194.618 | 194.585 | 194.573 | 194.548 | 194.527 | 194.517 | 194.52 | 194.54 | 194.578 | 194.633 | 194.7 | 194.787 | 194.756 | 194.742 | 194.737 | 194.744 | 194.762 | 194.79 | 194.825 | 194.867 | 194.905 | 194.9724
89 | 199.241 | 199.248 | 199.205 | 199.155 | 199.111 | 199.078 | 199.055 | 199.043 | 199.037 | 199.037 | 199.032 | 199.014 | 198.994 | 198.98 | 198.973 | 198.976 | 198.992 | 199.021 | 199.061 | 199.105 | 199.125 | 199.07 | 198.993 | 198.921 | 198.866 | 198.83 | 198.815 | 198.821 | 198.851 | 198.902 | 198.957 | 198.975 | 198.994 | 199.028 | 199.074 | 199.107 | 199.093 | 199.064 | 199.038 | 199.018 | 198.989 | 198.931 | 198.86 | 198.788 | 198.711 | 198.651 | 198.685 | 198.729 | 198.752 | 198.752 | 198.74 | 198.736 | 198.684 | 198.629 | 198.652 | 198.689 | 198.694 | 198.687 | 198.679 | 198.676 | 198.685 | 198.718 | 198.762 | 198.812 | 198.868 | 198.932 | 199.007 | 199.095 | 199.196 | 199.301 | 199.371 | 199.342 | 199.28 | 199.227 | 199.194 | 199.174 | 199.127 | 199.089 | 199.066 | 199.048 | 199.027 | 199.005 | 198.98 | 198.958 | 198.949 | 198.955 | 198.979 | 199.022 | 199.082 | 199.155 | 199.217 | 199.224 | 199.217 | 199.219 | 199.234 | 199.262 | 199.301 | 199.348 | 199.401 | 199.447 | 199.449
88 | 203.856 | 203.882 | 203.846 | 203.795 | 203.746 | 203.707 | 203.679 | 203.662 | 203.653 | 203.649 | 203.639 | 203.615 | 203.587 | 203.563 | 203.549 | 203.545 | 203.555 | 203.578 | 203.613 | 203.65 | 203.661 | 203.613 | 203.54 | 203.472 | 203.418 | 203.382 | 203.366 | 203.37 | 203.393 | 203.431 | 203.474 | 203.505 | 203.537 | 203.579 | 203.625 | 203.658 | 203.651 | 203.627 | 203.604 | 203.583 | 203.552 | 203.494 | 203.423 | 203.347 | 203.269 | 203.215 | 203.234 | 203.27 | 203.289 | 203.284 | 203.264 | 203.237 | 203.167 | 203.035 | 203.145 | 203.205 | 203.232 | 203.24 | 203.242 | 203.245 | 203.259 | 203.291 | 203.334 | 203.383 | 203.438 | 203.503 | 203.578 | 203.665 | 203.764 | 203.862 | 203.92 | 203.896 | 203.832 | 203.767 | 203.717 | 203.68 | 203.644 | 203.619 | 203.605 | 203.594 | 203.578 | 203.554 | 203.527 | 203.506 | 203.497 | 203.505 | 203.532 | 203.579 | 203.643 | 203.72 | 203.782 | 203.801 | 203.806 | 203.817 | 203.842 | 203.88 | 203.929 | 203.987 | 204.047 | 204.096 | 204.051
87 | 208.584 | 208.628 | 208.603 | 208.553 | 208.502 | 208.458 | 208.427 | 208.406 | 208.394 | 208.385 | 208.37 | 208.341 | 208.304 | 208.271 | 208.248 | 208.236 | 208.239 | 208.255 | 208.281 | 208.308 | 208.31 | 208.268 | 208.203 | 208.139 | 208.088 | 208.054 | 208.037 | 208.038 | 208.053 | 208.076 | 208.106 | 208.149 | 208.196 | 208.244 | 208.291 | 208.323 | 208.322 | 208.306 | 208.286 | 208.264 | 208.231 | 208.176 | 208.107 | 208.033 | 207.96 | 207.915 | 207.92 | 207.945 | 207.959 | 207.953 | 207.93 | 207.89 | 207.817 | 207.879 | 207.799 | 207.865 | 207.904 | 207.923 | 207.934 | 207.944 | 207.961 | 207.992 | 208.032 | 208.08 | 208.133 | 208.196 | 208.27 | 208.354 | 208.446 | 208.532 | 208.58 | 208.558 | 208.496 | 208.423 | 208.354 | 208.3 | 208.277 | 208.269 | 208.266 | 208.263 | 208.252 | 208.226 | 208.196 | 208.175 | 208.168 | 208.178 | 208.209 | 208.258 | 208.324 | 208.4 | 208.465 | 208.497 | 208.515 | 208.539 | 208.575 | 208.623 | 208.682 | 208.747 | 208.812 | 208.86 | 208.908
86 | 213.436 | 213.496 | 213.484 | 213.439 | 213.387 | 213.341 | 213.306 | 213.283 | 213.268 | 213.256 | 213.235 | 213.199 | 213.155 | 213.112 | 213.079 | 213.059 | 213.053 | 213.06 | 213.076 | 213.09 | 213.085 | 213.048 | 212.992 | 212.936 | 212.889 | 212.856 | 212.839 | 212.836 | 212.842 | 212.852 | 212.868 | 212.924 | 212.983 | 213.036 | 213.083 | 213.113 | 213.12 | 213.11 | 213.094 | 213.073 | 213.04 | 212.989 | 212.925 | 212.857 | 212.795 | 212.758 | 212.752 | 212.766 | 212.775 | 212.769 | 212.748 | 212.705 | 212.638 | 212.454 | 212.622 | 212.681 | 212.723 | 212.748 | 212.766 | 212.782 | 212.803 | 212.833 | 212.87 | 212.913 | 212.964 | 213.024 | 213.093 | 213.171 | 213.253 | 213.326 | 213.363 | 213.346 | 213.287 | 213.209 | 213.124 | 213.054 | 213.045 | 213.053 | 213.06 | 213.064 | 213.058 | 213.028 | 212.996 | 212.976 | 212.971 | 212.984 | 213.016 | 213.067 | 213.135 | 213.21 | 213.277 | 213.321 | 213.355 | 213.393 | 213.44 | 213.498 | 213.566 | 213.636 | 213.701 | 213.74 | 213.731
85 | 218.424 | 218.499 | 218.5 | 218.462 | 218.412 | 218.365 | 218.328 | 218.302 | 218.285 | 218.27 | 218.244 | 218.201 | 218.147 | 218.094 | 218.052 | 218.023 | 218.007 | 218.004 | 218.007 | 218.009 | 217.996 | 217.964 | 217.918 | 217.87 | 217.829 | 217.8 | 217.783 | 217.777 | 217.776 | 217.774 | 217.744 | 217.845 | 217.911 | 217.967 | 218.013 | 218.042 | 218.054 | 218.052 | 218.042 | 218.022 | 217.99 | 217.944 | 217.887 | 217.828 | 217.778 | 217.761 | 217.736 | 217.74 | 217.746 | 217.743 | 217.73 | 217.69 | 217.639 | 217.624 | 217.623 | 217.663 | 217.698 | 217.726 | 217.749 | 217.771 | 217.794 | 217.821 | 217.854 | 217.893 | 217.939 | 217.993 | 218.056 | 218.126 | 218.196 | 218.255 | 218.283 | 218.269 | 218.217 | 218.14 | 218.048 | 217.91 | 217.969 | 217.986 | 217.997 | 218.003 | 218.022 | 217.969 | 217.937 | 217.918 | 217.915 | 217.932 | 217.967 | 218.019 | 218.087 | 218.162 | 218.231 | 218.287 | 218.337 | 218.39 | 218.449 | 218.517 | 218.592 | 218.665 | 218.726 | 218.75 | 218.687
84 | 223.56 | 223.65 | 223.662 | 223.632 | 223.585 | 223.539 | 223.5 | 223.473 | 223.455 | 223.437 | 223.407 | 223.356 | 223.293 | 223.231 | 223.179 | 223.14 | 223.115 | 223.1 | 223.09 | 223.078 | 223.059 | 223.031 | 222.995 | 222.957 | 222.923 | 222.897 | 222.88 | 222.872 | 222.868 | 222.861 | 222.867 | 222.928 | 222.996 | 223.052 | 223.093 | 223.122 | 223.14 | 223.146 | 223.14 | 223.123 | 223.094 | 223.053 | 223.005 | 222.957 | 222.918 | 222.896 | 222.88 | 222.878 | 222.882 | 222.883 | 222.873 | 222.849 | 222.824 | 222.717 | 222.804 | 222.817 | 222.841 | 222.867 | 222.893 | 222.919 | 222.944 | 222.968 | 222.996 | 223.029 | 223.069 | 223.118 | 223.174 | 223.234 | 223.292 | 223.336 | 223.356 | 223.347 | 223.305 | 223.236 | 223.149 | 223.075 | 223.07 | 223.084 | 223.092 | 223.094 | 223.087 | 223.058 | 223.029 | 223.014 | 223.015 | 223.034 | 223.071 | 223.125 | 223.193 | 223.266 | 223.339 | 223.408 | 223.474 | 223.541 | 223.613 | 223.691 | 223.771 | 223.846 | 223.901 | 223.909 | 223.838
83 | 228.857 | 228.96 | 228.984 | 228.962 | 228.921 | 228.875 | 228.837 | 228.809 | 228.789 | 228.77 | 228.737 | 228.677 | 228.604 | 228.532 | 228.471 | 228.423 | 228.387 | 228.361 | 228.338 | 228.313 | 228.287 | 228.264 | 228.238 | 228.21 | 228.182 | 228.16 | 228.146 | 228.138 | 228.132 | 228.126 | 228.136 | 228.189 | 228.253 | 228.305 | 228.342 | 228.369 | 228.392 | 228.406 | 228.406 | 228.392 | 228.367 | 228.333 | 228.293 | 228.255 | 228.228 | 228.211 | 228.195 | 228.19 | 228.194 | 228.201 | 228.2 | 228.189 | 228.186 | 228.398 | 228.163 | 228.15 | 228.162 | 228.185 | 228.212 | 228.241 | 228.268 | 228.289 | 228.309 | 228.335 | 228.37 | 228.412 | 228.459 | 228.508 | 228.553 | 228.583 | 228.597 | 228.593 | 228.565 | 228.51 | 228.437 | 228.376 | 228.358 | 228.36 | 228.357 | 228.349 | 228.334 | 228.309 | 228.286 | 228.275 | 228.28 | 228.303 | 228.343 | 228.398 | 228.465 | 228.537 | 228.613 | 228.694 | 228.776 | 228.858 | 228.942 | 229.029 | 229.114 | 229.19 | 229.24 | 229.236 | 229.092
82 | 234.328 | 234.443 | 234.478 | 234.465 | 234.429 | 234.387 | 234.349 | 234.32 | 234.299 | 234.28 | 234.244 | 234.176 | 234.092 | 234.011 | 233.941 | 233.884 | 233.84 | 233.803 | 233.768 | 233.73 | 233.697 | 233.679 | 233.664 | 233.644 | 233.624 | 233.606 | 233.595 | 233.588 | 233.584 | 233.582 | 233.596 | 233.642 | 233.698 | 233.743 | 233.774 | 233.798 | 233.827 | 233.849 | 233.855 | 233.844 | 233.823 | 233.796 | 233.765 | 233.738 | 233.72 | 233.709 | 233.694 | 233.688 | 233.694 | 233.707 | 233.717 | 233.717 | 233.723 | 233.708 | 233.695 | 233.671 | 233.673 | 233.69 | 233.717 | 233.749 | 233.777 | 233.793 | 233.806 | 233.825 | 233.853 | 233.887 | 233.927 | 233.966 | 233.998 | 234.015 | 234.022 | 234.028 | 234.016 | 233.98 | 233.925 | 233.875 | 233.847 | 233.83 | 233.812 | 233.788 | 233.762 | 233.739 | 233.723 | 233.717 | 233.727 | 233.754 | 233.797 | 233.854 | 233.92 | 233.992 | 234.071 | 234.165 | 234.262 | 234.358 | 234.453 | 234.548 | 234.637 | 234.711 | 234.756 | 234.747 | 234.707
81 | 239.988 | 240.115 | 240.161 | 240.158 | 240.129 | 240.09 | 240.054 | 240.023 | 240.001 | 239.98 | 239.944 | 239.866 | 239.773 | 239.684 | 239.607 | 239.542 | 239.49 | 239.444 | 239.399 | 239.351 | 239.309 | 239.298 | 239.291 | 239.279 | 239.264 | 239.252 | 239.243 | 239.239 | 239.239 | 239.243 | 239.261 | 239.3 | 239.347 | 239.385 | 239.409 | 239.429 | 239.465 | 239.494 | 239.506 | 239.499 | 239.481 | 239.462 | 239.439 | 239.42 | 239.41 | 239.406 | 239.392 | 239.387 | 239.398 | 239.42 | 239.439 | 239.447 | 239.451 | 239.418 | 239.418 | 239.392 | 239.386 | 239.399 | 239.423 | 239.456 | 239.486 | 239.495 | 239.502 | 239.514 | 239.535 | 239.563 | 239.594 | 239.624 | 239.644 | 239.651 | 239.652 | 239.67 | 239.676 | 239.66 | 239.625 | 239.585 | 239.546 | 239.509 | 239.471 | 239.429 | 239.391 | 239.37 | 239.359 | 239.359 | 239.374 | 239.404 | 239.451 | 239.51 | 239.577 | 239.65 | 239.731 | 239.837 | 239.948 | 240.057 | 240.162 | 240.263 | 240.355 | 240.427 | 240.467 | 240.453 | 240.303
80 | 245.871 | 245.991 | 246.049 | 246.056 | 246.035 | 246.001 | 245.965 | 245.934 | 245.909 | 245.886 | 245.867 | 245.76 | 245.661 | 245.567 | 245.484 | 245.414 | 245.356 | 245.302 | 245.25 | 245.194 | 245.125 | 245.139 | 245.139 | 245.132 | 245.123 | 245.115 | 245.109 | 245.11 | 245.115 | 245.127 | 245.148 | 245.183 | 245.218 | 245.248 | 245.268 | 245.269 | 245.326 | 245.362 | 245.378 | 245.377 | 245.354 | 245.349 | 245.333 | 245.319 | 245.314 | 245.331 | 245.303 | 245.301 | 245.319 | 245.349 | 245.385 | 245.394 | 245.397 | 245.348 | 245.362 | 245.329 | 245.32 | 245.326 | 245.347 | 245.379 | 245.423 | 245.413 | 245.414 | 245.421 | 245.436 | 245.457 | 245.48 | 245.502 | 245.515 | 245.515 | 245.487 | 245.541 | 245.564 | 245.566 | 245.551 | 245.529 | 245.469 | 245.412 | 245.352 | 245.293 | 245.226 | 245.22 | 245.213 | 245.218 | 245.237 | 245.272 | 245.321 | 245.383 | 245.453 | 245.528 | 245.599 | 245.73 | 245.853 | 245.972 | 246.086 | 246.191 | 246.284 | 246.354 | 246.387 | 246.365 | 246.317
79 | 251.911 | 252.07 | 252.144 | 252.165 | 252.153 | 252.124 | 252.091 | 252.058 | 252.029 | 252.001 | 251.955 | 251.867 | 251.765 | 251.667 | 251.58 | 251.507 | 251.444 | 251.386 | 251.329 | 251.272 | 251.225 | 251.216 | 251.217 | 251.214 | 251.208 | 251.203 | 251.201 | 251.206 | 251.219 | 251.239 | 251.266 | 251.294 | 251.32 | 251.343 | 251.36 | 251.379 | 251.421 | 251.461 | 251.483 | 251.486 | 251.478 | 251.468 | 251.455 | 251.443 | 251.439 | 251.44 | 251.434 | 251.439 | 251.464 | 251.502 | 251.542 | 251.565 | 251.572 | 251.618 | 251.534 | 251.5 | 251.48 | 251.479 | 251.495 | 251.523 | 251.549 | 251.551 | 251.548 | 251.551 | 251.561 | 251.576 | 251.595 | 251.61 | 251.618 | 251.616 | 251.618 | 251.651 | 251.686 | 251.705 | 251.705 | 251.68 | 251.62 | 251.544 | 251.464 | 251.389 | 251.329 | 251.301 | 251.294 | 251.301 | 251.325 | 251.364 | 251.418 | 251.484 | 251.558 | 251.637 | 251.73 | 251.853 | 251.984 | 252.111 | 252.231 | 252.341 | 252.433 | 252.497 | 252.52 | 252.483 | 252.407
78 | 258.168 | 258.348 | 258.443 | 258.48 | 258.48 | 258.458 | 258.427 | 258.393 | 258.36 | 258.324 | 258.27 | 258.183 | 258.081 | 257.983 | 257.895 | 257.82 | 257.755 | 257.696 | 257.638 | 257.582 | 257.54 | 257.527 | 257.526 | 257.524 | 257.52 | 257.517 | 257.518 | 257.528 | 257.548 | 257.578 | 257.61 | 257.632 | 257.65 | 257.667 | 257.684 | 257.707 | 257.749 | 257.791 | 257.818 | 257.827 | 257.824 | 257.816 | 257.803 | 257.791 | 257.783 | 257.781 | 257.782 | 257.795 | 257.827 | 257.875 | 257.923 | 257.957 | 257.971 | 257.915 | 257.933 | 257.892 | 257.862 | 257.853 | 257.863 | 257.886 | 257.906 | 257.909 | 257.905 | 257.904 | 257.91 | 257.921 | 257.935 | 257.947 | 257.953 | 257.953 | 257.963 | 257.997 | 258.039 | 258.071 | 258.085 | 258.063 | 257.994 | 257.899 | 257.802 | 257.713 | 257.647 | 257.612 | 257.602 | 257.611 | 257.638 | 257.681 | 257.74 | 257.81 | 257.89 | 257.977 | 258.079 | 258.206 | 258.342 | 258.475 | 258.599 | 258.71 | 258.799 | 258.856 | 258.865 | 258.805 | 258.576
77 | 264.634 | 264.837 | 264.954 | 265.009 | 265.022 | 265.009 | 264.981 | 264.945 | 264.907 | 264.862 | 264.801 | 264.714 | 264.615 | 264.519 | 264.434 | 264.36 | 264.295 | 264.236 | 264.181 | 264.13 | 264.092 | 264.076 | 264.071 | 264.067 | 264.063 | 264.062 | 264.066 | 264.079 | 264.105 | 264.145 | 264.184 | 264.2 | 264.211 | 264.226 | 264.245 | 264.273 | 264.314 | 264.358 | 264.389 | 264.405 | 264.406 | 264.398 | 264.384 | 264.369 | 264.355 | 264.349 | 264.355 | 264.376 | 264.416 | 264.471 | 264.529 | 264.572 | 264.601 | 264.523 | 264.563 | 264.509 | 264.469 | 264.452 | 264.456 | 264.473 | 264.489 | 264.492 | 264.487 | 264.485 | 264.489 | 264.497 | 264.509 | 264.519 | 264.525 | 264.531 | 264.546 | 264.581 | 264.626 | 264.667 | 264.692 | 264.675 | 264.595 | 264.482 | 264.368 | 264.27 | 264.197 | 264.155 | 264.142 | 264.152 | 264.182 | 264.229 | 264.293 | 264.369 | 264.455 | 264.551 | 264.662 | 264.793 | 264.932 | 265.068 | 265.194 | 265.303 | 265.388 | 265.436 | 265.43 | 265.349 | 265.16
76 | 271.324 | 271.549 | 271.689 | 271.763 | 271.79 | 271.785 | 271.759 | 271.722 | 271.677 | 271.624 | 271.556 | 271.47 | 271.376 | 271.284 | 271.202 | 271.13 | 271.069 | 271.014 | 270.964 | 270.92 | 270.885 | 270.867 | 270.857 | 270.85 | 270.845 | 270.843 | 270.848 | 270.864 | 270.895 | 270.942 | 270.989 | 271 | 271.007 | 271.022 | 271.046 | 271.079 | 271.122 | 271.167 | 271.202 | 271.223 | 271.228 | 271.22 | 271.203 | 271.183 | 271.162 | 271.15 | 271.161 | 271.187 | 271.231 | 271.292 | 271.359 | 271.411 | 271.457 | 271.615 | 271.422 | 271.353 | 271.304 | 271.281 | 271.28 | 271.292 | 271.304 | 271.307 | 271.303 | 271.301 | 271.303 | 271.31 | 271.319 | 271.329 | 271.339 | 271.35 | 271.369 | 271.404 | 271.449 | 271.493 | 271.525 | 271.515 | 271.42 | 271.291 | 271.165 | 271.06 | 270.982 | 270.935 | 270.919 | 270.929 | 270.962 | 271.014 | 271.083 | 271.165 | 271.259 | 271.363 | 271.482 | 271.616 | 271.757 | 271.893 | 272.019 | 272.126 | 272.205 | 272.243 | 272.22 | 272.115 | 272.021
75 | 278.248 | 278.494 | 278.656 | 278.749 | 278.789 | 278.792 | 278.769 | 278.729 | 278.678 | 278.615 | 278.541 | 278.456 | 278.367 | 278.281 | 278.204 | 278.138 | 278.082 | 278.033 | 277.99 | 277.953 | 277.924 | 277.903 | 277.888 | 277.877 | 277.868 | 277.866 | 277.871 | 277.888 | 277.92 | 277.97 | 278.053 | 278.033 | 278.042 | 278.061 | 278.091 | 278.13 | 278.176 | 278.223 | 278.262 | 278.287 | 278.295 | 278.287 | 278.266 | 278.24 | 278.213 | 278.181 | 278.205 | 278.234 | 278.278 | 278.339 | 278.429 | 278.47 | 278.523 | 278.576 | 278.495 | 278.422 | 278.369 | 278.341 | 278.337 | 278.345 | 278.355 | 278.358 | 278.356 | 278.354 | 278.357 | 278.363 | 278.374 | 278.386 | 278.398 | 278.414 | 278.436 | 278.469 | 278.51 | 278.55 | 278.581 | 278.622 | 278.466 | 278.327 | 278.195 | 278.084 | 278.007 | 277.953 | 277.936 | 277.947 | 277.983 | 278.04 | 278.115 | 278.204 | 278.307 | 278.421 | 278.547 | 278.683 | 278.824 | 278.96 | 279.083 | 279.185 | 279.258 | 279.285 | 279.245 | 279.113 | 278.831
74 | 285.422 | 285.687 | 285.869 | 285.979 | 286.031 | 286.04 | 286.017 | 285.973 | 285.914 | 285.842 | 285.762 | 285.678 | 285.595 | 285.517 | 285.447 | 285.388 | 285.338 | 285.297 | 285.264 | 285.235 | 285.211 | 285.188 | 285.167 | 285.151 | 285.14 | 285.135 | 285.14 | 285.156 | 285.187 | 285.233 | 285.282 | 285.3 | 285.318 | 285.347 | 285.386 | 285.43 | 285.48 | 285.529 | 285.572 | 285.601 | 285.612 | 285.602 | 285.577 | 285.544 | 285.511 | 285.489 | 285.496 | 285.52 | 285.559 | 285.614 | 285.684 | 285.751 | 285.809 | 285.795 | 285.788 | 285.722 | 285.667 | 285.639 | 285.634 | 285.641 | 285.65 | 285.654 | 285.654 | 285.654 | 285.657 | 285.665 | 285.677 | 285.691 | 285.708 | 285.728 | 285.752 | 285.78 | 285.811 | 285.841 | 285.859 | 285.837 | 285.732 | 285.596 | 285.462 | 285.349 | 285.266 | 285.215 | 285.199 | 285.213 | 285.252 | 285.314 | 285.394 | 285.491 | 285.601 | 285.724 | 285.858 | 285.997 | 286.136 | 286.269 | 286.388 | 286.485 | 286.549 | 286.565 | 286.514 | 286.363 | 286.021
73 | 292.858 | 293.14 | 293.339 | 293.463 | 293.523 | 293.536 | 293.512 | 293.461 | 293.393 | 293.311 | 293.225 | 293.143 | 293.066 | 292.996 | 292.935 | 292.883 | 292.843 | 292.811 | 292.788 | 292.769 | 292.75 | 292.725 | 292.699 | 292.677 | 292.662 | 292.655 | 292.658 | 292.672 | 292.698 | 292.736 | 292.777 | 292.809 | 292.842 | 292.884 | 292.931 | 292.984 | 293.037 | 293.088 | 293.134 | 293.168 | 293.181 | 293.169 | 293.139 | 293.101 | 293.064 | 293.04 | 293.039 | 293.055 | 293.083 | 293.127 | 293.186 | 293.259 | 293.325 | 293.294 | 293.314 | 293.251 | 293.2 | 293.176 | 293.172 | 293.181 | 293.191 | 293.197 | 293.199 | 293.201 | 293.207 | 293.217 | 293.231 | 293.249 | 293.27 | 293.293 | 293.317 | 293.339 | 293.357 | 293.369 | 293.365 | 293.324 | 293.226 | 293.1 | 292.971 | 292.858 | 292.774 | 292.726 | 292.713 | 292.73 | 292.773 | 292.839 | 292.925 | 293.029 | 293.149 | 293.281 | 293.42 | 293.561 | 293.698 | 293.828 | 293.942 | 294.031 | 294.085 | 294.091 | 294.033 | 293.886 | 293.571
72 | 300.573 | 300.868 | 301.079 | 301.212 | 301.277 | 301.289 | 301.26 | 301.201 | 301.12 | 301.029 | 300.936 | 300.856 | 300.786 | 300.725 | 300.672 | 300.63 | 300.598 | 300.576 | 300.563 | 300.556 | 300.543 | 300.516 | 300.485 | 300.457 | 300.438 | 300.429 | 300.429 | 300.44 | 300.46 | 300.487 | 300.52 | 300.566 | 300.618 | 300.672 | 300.731 | 300.791 | 300.848 | 300.901 | 300.951 | 300.989 | 301.005 | 300.99 | 300.954 | 300.912 | 300.872 | 300.845 | 300.836 | 300.841 | 300.856 | 300.88 | 300.926 | 301.002 | 301.079 | 301.124 | 301.077 | 301.016 | 300.974 | 300.958 | 300.96 | 300.971 | 300.984 | 300.992 | 300.996 | 301.001 | 301.01 | 301.023 | 301.041 | 301.062 | 301.087 | 301.113 | 301.136 | 301.149 | 301.152 | 301.143 | 301.113 | 301.053 | 300.963 | 300.849 | 300.729 | 300.618 | 300.535 | 300.49 | 300.482 | 300.503 | 300.55 | 300.62 | 300.712 | 300.823 | 300.95 | 301.091 | 301.237 | 301.379 | 301.513 | 301.638 | 301.746 | 301.827 | 301.87 | 301.865 | 301.799 | 301.665 | 301.529
71 | 308.583 | 308.887 | 309.104 | 309.239 | 309.303 | 309.308 | 309.269 | 309.198 | 309.105 | 309 | 308.899 | 308.822 | 308.76 | 308.707 | 308.663 | 308.63 | 308.608 | 308.596 | 308.594 | 308.597 | 308.593 | 308.563 | 308.526 | 308.494 | 308.471 | 308.459 | 308.458 | 308.466 | 308.481 | 308.497 | 308.521 | 308.583 | 308.652 | 308.719 | 308.789 | 308.856 | 308.916 | 308.971 | 309.024 | 309.066 | 309.086 | 309.066 | 309.026 | 308.98 | 308.938 | 308.907 | 308.89 | 308.885 | 308.886 | 308.89 | 308.915 | 308.989 | 309.069 | 309.198 | 309.073 | 309.019 | 308.993 | 308.989 | 308.998 | 309.014 | 309.03 | 309.041 | 309.049 | 309.058 | 309.07 | 309.086 | 309.108 | 309.134 | 309.162 | 309.191 | 309.212 | 309.214 | 309.202 | 309.172 | 309.116 | 309.037 | 308.953 | 308.853 | 308.742 | 308.635 | 308.553 | 308.514 | 308.51 | 308.534 | 308.585 | 308.66 | 308.756 | 308.873 | 309.008 | 309.156 | 309.309 | 309.45 | 309.582 | 309.703 | 309.804 | 309.876 | 309.907 | 309.886 | 309.807 | 309.667 | 309.498
70 | 316.8959 | 317.21 | 317.425 | 317.554 | 317.607 | 317.6 | 317.546 | 317.458 | 317.349 | 317.232 | 317.111 | 317.048 | 316.991 | 316.945 | 316.91 | 316.886 | 316.873 | 316.872 | 316.879 | 316.89 | 316.908 | 316.861 | 316.822 | 316.787 | 316.761 | 316.747 | 316.744 | 316.751 | 316.763 | 316.773 | 316.76 | 316.866 | 316.947 | 317.025 | 317.102 | 317.184 | 317.238 | 317.296 | 317.351 | 317.396 | 317.432 | 317.396 | 317.352 | 317.304 | 317.26 | 317.23 | 317.203 | 317.19 | 317.179 | 317.169 | 317.133 | 317.236 | 317.3 | 317.35 | 317.307 | 317.255 | 317.266 | 317.275 | 317.292 | 317.314 | 317.335 | 317.348 | 317.36 | 317.372 | 317.388 | 317.408 | 317.434 | 317.465 | 317.497 | 317.526 | 317.551 | 317.539 | 317.512 | 317.463 | 317.387 | 317.262 | 317.214 | 317.123 | 317.02 | 316.918 | 316.823 | 316.803 | 316.802 | 316.829 | 316.882 | 316.96 | 317.061 | 317.184 | 317.325 | 317.479 | 317.644 | 317.779 | 317.909 | 318.025 | 318.121 | 318.182 | 318.199 | 318.16 | 318.057 | 317.882 | 317.6111
69 |  |  | 325.912 | 326.056 | 326.119 | 326.118 | 326.065 | 325.976 | 325.864 | 325.742 | 325.632 | 325.554 | 325.499 | 325.459 | 325.432 | 325.417 | 325.414 | 325.421 | 325.436 | 325.454 | 325.458 | 325.43 | 325.391 | 325.355 | 325.327 | 325.312 | 325.309 | 325.316 | 325.329 | 325.342 | 325.369 | 325.442 | 325.526 | 325.608 | 325.69 | 325.768 | 325.834 | 325.894 | 325.95 | 325.996 | 326.017 | 325.995 | 325.951 | 325.902 | 325.857 | 325.821 | 325.795 | 325.776 | 325.76 | 325.742 | 325.738 | 325.776 | 325.809 | 325.748 | 325.815 | 325.808 | 325.816 | 325.836 | 325.861 | 325.888 | 325.912 | 325.93 | 325.945 | 325.962 | 325.982 | 326.008 | 326.039 | 326.073 | 326.108 | 326.139 | 326.154 | 326.141 | 326.102 | 326.04 | 325.953 | 325.853 | 325.769 | 325.68 | 325.583 | 325.488 | 325.413 | 325.379 | 325.378 | 325.406 | 325.46 | 325.54 | 325.645 | 325.772 | 325.917 | 326.076 | 326.236 | 326.38 | 326.511 | 326.625 | 326.713 | 326.765 | 326.768 | 326.708 | 326.573 | 326.348 | 325.991
68 |  |  |  | 334.904 | 334.968 | 334.962 | 334.904 | 334.806 | 334.686 | 334.56 | 334.447 | 334.366 | 334.311 | 334.275 | 334.256 | 334.248 | 334.253 | 334.268 | 334.29 | 334.31 | 334.315 | 334.292 | 334.255 | 334.219 | 334.192 | 334.177 | 334.174 | 334.184 | 334.202 | 334.227 | 334.264 | 334.331 | 334.411 | 334.492 | 334.574 | 334.653 | 334.723 | 334.786 | 334.843 | 334.888 | 334.906 | 334.887 | 334.844 | 334.795 | 334.75 | 334.713 | 334.687 | 334.668 | 334.652 | 334.635 | 334.628 | 334.639 | 334.64 | 334.63 | 334.639 | 334.653 | 334.673 | 334.7 | 334.732 | 334.763 | 334.791 | 334.814 | 334.833 | 334.854 | 334.878 | 334.909 | 334.944 | 334.984 | 335.022 | 335.053 | 335.065 | 335.047 | 335.001 | 334.931 | 334.838 | 334.738 | 334.646 | 334.554 | 334.46 | 334.371 | 334.302 | 334.266 | 334.262 | 334.288 | 334.342 | 334.424 | 334.531 | 334.661 | 334.81 | 334.971 | 335.133 | 335.281 | 335.413 | 335.525 | 335.609 | 335.652 | 335.642 | 335.56 | 335.393 | 335.121 | 334.718
67 |  |  |  | 344.075 | 344.135 | 344.124 | 344.058 | 343.952 | 343.824 | 343.693 | 343.577 | 343.492 | 343.437 | 343.404 | 343.389 | 343.389 | 343.401 | 343.423 | 343.448 | 343.471 | 343.477 | 343.458 | 343.425 | 343.391 | 343.364 | 343.35 | 343.35 | 343.365 | 343.392 | 343.429 | 343.479 | 343.54 | 343.611 | 343.688 | 343.768 | 343.846 | 343.918 | 343.984 | 344.041 | 344.084 | 344.1 | 344.082 | 344.042 | 343.994 | 343.95 | 343.914 | 343.889 | 343.874 | 343.863 | 343.852 | 343.842 | 343.831 | 343.809 | 343.767 | 343.797 | 343.819 | 343.845 | 343.878 | 343.913 | 343.949 | 343.98 | 344.006 | 344.029 | 344.054 | 344.083 | 344.118 | 344.159 | 344.203 | 344.245 | 344.277 | 344.286 | 344.266 | 344.215 | 344.14 | 344.047 | 343.947 | 343.847 | 343.751 | 343.657 | 343.574 | 343.509 | 343.47 | 343.462 | 343.485 | 343.538 | 343.62 | 343.728 | 343.86 | 344.012 | 344.174 | 344.338 | 344.49 | 344.624 | 344.736 | 344.817 | 344.853 | 344.83 | 344.732 | 344.538 | 344.233 | 343.795
66 |  |  |  |  | 353.633 | 353.616 | 353.54 | 353.425 | 353.289 | 353.151 | 353.031 | 352.943 | 352.886 | 352.856 | 352.845 | 352.851 | 352.869 | 352.895 | 352.925 | 352.949 | 352.956 | 352.941 | 352.911 | 352.879 | 352.853 | 352.84 | 352.844 | 352.865 | 352.902 | 352.955 | 353.016 | 353.071 | 353.131 | 353.202 | 353.278 | 353.355 | 353.428 | 353.495 | 353.553 | 353.594 | 353.608 | 353.593 | 353.555 | 353.508 | 353.465 | 353.431 | 353.411 | 353.402 | 353.399 | 353.396 | 353.385 | 353.356 | 353.321 | 353.217 | 353.295 | 353.312 | 353.342 | 353.378 | 353.417 | 353.454 | 353.489 | 353.518 | 353.545 | 353.573 | 353.607 | 353.647 | 353.694 | 353.743 | 353.789 | 353.822 | 353.832 | 353.809 | 353.756 | 353.679 | 353.587 | 353.486 | 353.38 | 353.278 | 353.183 | 353.103 | 353.041 | 352.999 | 352.986 | 353.006 | 353.057 | 353.139 | 353.248 | 353.382 | 353.535 | 353.699 | 353.865 | 354.02 | 354.158 | 354.272 | 354.351 | 354.382 | 354.352 | 354.241 | 354.031 | 353.708 | 353.279
65 |  |  |  |  | 363.474 | 363.448 | 363.363 | 363.237 | 363.091 | 362.945 | 362.819 | 362.727 | 362.67 | 362.642 | 362.634 | 362.644 | 362.667 | 362.697 | 362.73 | 362.755 | 362.764 | 362.751 | 362.724 | 362.693 | 362.669 | 362.658 | 362.665 | 362.693 | 362.74 | 362.805 | 362.893 | 362.925 | 362.976 | 363.039 | 363.111 | 363.187 | 363.261 | 363.33 | 363.388 | 363.428 | 363.442 | 363.427 | 363.39 | 363.346 | 363.304 | 363.27 | 363.259 | 363.258 | 363.263 | 363.268 | 363.274 | 363.214 | 363.17 | 363.29 | 363.13 | 363.142 | 363.172 | 363.21 | 363.251 | 363.291 | 363.327 | 363.359 | 363.389 | 363.421 | 363.46 | 363.505 | 363.557 | 363.612 | 363.663 | 363.699 | 363.709 | 363.685 | 363.63 | 363.553 | 363.461 | 363.365 | 363.248 | 363.14 | 363.043 | 362.963 | 362.912 | 362.859 | 362.842 | 362.859 | 362.909 | 362.99 | 363.1 | 363.234 | 363.389 | 363.555 | 363.723 | 363.882 | 364.024 | 364.141 | 364.221 | 364.251 | 364.216 | 364.098 | 363.882 | 363.555 | 363.117
64 | [5 empty] | 373.632 | 373.537 | 373.4 | 373.242 | 373.086 | 372.953 | 372.858 | 372.8 | 372.773 | 372.768 | 372.781 | 372.806 | 372.839 | 372.874 | 372.9 | 372.911 | 372.899 | 372.873 | 372.843 | 372.82 | 372.811 | 372.822 | 372.855 | 372.911 | 372.985 | 373.059 | 373.109 | 373.155 | 373.212 | 373.28 | 373.354 | 373.429 | 373.498 | 373.557 | 373.597 | 373.611 | 373.594 | 373.558 | 373.514 | 373.476 | 373.45 | 373.44 | 373.444 | 373.459 | 373.471 | 373.457 | 373.402 | 373.34 | 373.291 | 373.293 | 373.311 | 373.344 | 373.383 | 373.424 | 373.466 | 373.505 | 373.54 | 373.572 | 373.608 | 373.65 | 373.7 | 373.757 | 373.818 | 373.874 | 373.916 | 373.927 | 373.903 | 373.846 | 373.768 | 373.675 | 373.572 | 373.458 | 373.346 | 373.246 | 373.164 | 373.102 | 373.057 | 373.039 | 373.055 | 373.104 | 373.184 | 373.294 | 373.429 | 373.585 | 373.753 | 373.924 | 374.088 | 374.235 | 374.357 | 374.439 | 374.471 | 374.435 | 374.316 | 374.099 | 373.776 | 373.314
63 | [5 empty] | 384.181 | 384.074 | 383.926 | 383.756 | 383.588 | 383.446 | 383.347 | 383.289 | 383.263 | 383.259 | 383.272 | 383.298 | 383.333 | 383.368 | 383.397 | 383.408 | 383.396 | 383.37 | 383.34 | 383.317 | 383.31 | 383.324 | 383.361 | 383.423 | 383.502 | 383.578 | 383.629 | 383.672 | 383.726 | 383.791 | 383.865 | 383.94 | 384.011 | 384.07 | 384.111 | 384.124 | 384.105 | 384.066 | 384.023 | 383.988 | 383.966 | 383.959 | 383.968 | 383.991 | 384.01 | 383.992 | 383.924 | 383.84 | 383.695 | 383.791 | 383.824 | 383.862 | 383.902 | 383.944 | 383.989 | 384.03 | 384.067 | 384.101 | 384.14 | 384.186 | 384.242 | 384.304 | 384.371 | 384.433 | 384.48 | 384.495 | 384.469 | 384.41 | 384.33 | 384.237 | 384.133 | 384.017 | 383.901 | 383.797 | 383.712 | 383.647 | 383.604 | 383.587 | 383.602 | 383.65 | 383.73 | 383.84 | 383.976 | 384.132 | 384.303 | 384.478 | 384.647 | 384.801 | 384.928 | 385.017 | 385.052 | 385.018 | 384.9 | 384.683 | 384.364 | 383.977
62 | [6 empty] | 394.985 | 394.824 | 394.642 | 394.46 | 394.308 | 394.206 | 394.148 | 394.121 | 394.116 | 394.129 | 394.154 | 394.187 | 394.223 | 394.253 | 394.265 | 394.252 | 394.223 | 394.192 | 394.169 | 394.163 | 394.177 | 394.216 | 394.281 | 394.365 | 394.443 | 394.494 | 394.535 | 394.588 | 394.654 | 394.728 | 394.804 | 394.875 | 394.936 | 394.979 | 394.991 | 394.968 | 394.924 | 394.879 | 394.846 | 394.828 | 394.822 | 394.833 | 394.863 | 394.889 | 394.871 | 394.785 | 394.689 | 394.616 | 394.647 | 394.689 | 394.732 | 394.773 | 394.818 | 394.867 | 394.912 | 394.95 | 394.987 | 395.029 | 395.079 | 395.138 | 395.206 | 395.277 | 395.347 | 395.4 | 395.419 | 395.391 | 395.328 | 395.246 | 395.154 | 395.051 | 394.932 | 394.813 | 394.706 | 394.618 | 394.552 | 394.51 | 394.495 | 394.51 | 394.558 | 394.638 | 394.748 | 394.885 | 395.043 | 395.216 | 395.396 | 395.571 | 395.733 | 395.868 | 395.964 | 396.005 | 395.976 | 395.858 | 395.64 | 395.31 | 394.908
61 | [6 empty] | 406.282 | 406.111 | 405.916 | 405.72 | 405.555 | 405.451 | 405.392 | 405.362 | 405.354 | 405.363 | 405.385 | 405.415 | 405.448 | 405.477 | 405.49 | 405.473 | 405.441 | 405.41 | 405.386 | 405.378 | 405.391 | 405.429 | 405.493 | 405.579 | 405.662 | 405.71 | 405.752 | 405.807 | 405.876 | 405.954 | 406.031 | 406.104 | 406.166 | 406.209 | 406.222 | 406.192 | 406.14 | 406.092 | 406.057 | 406.042 | 406.032 | 406.043 | 406.076 | 406.11 | 406.093 | 405.978 | 405.878 | 405.784 | 405.852 | 405.903 | 405.955 | 406.001 | 406.052 | 406.106 | 406.157 | 406.197 | 406.237 | 406.281 | 406.336 | 406.399 | 406.471 | 406.547 | 406.621 | 406.681 | 406.707 | 406.673 | 406.605 | 406.522 | 406.433 | 406.332 | 406.211 | 406.089 | 405.982 | 405.894 | 405.828 | 405.788 | 405.775 | 405.792 | 405.84 | 405.92 | 406.03 | 406.167 | 406.327 | 406.504 | 406.688 | 406.871 | 407.04 | 407.185 | 407.29 | 407.34 | 407.316 | 407.201 | 406.978 | 406.625 | 406.063
60 | [6 empty] | 417.974 | 417.794 | 417.59 | 417.383 | 417.185 | 417.098 | 417.034 | 416.998 | 416.984 | 416.986 | 417 | 417.024 | 417.052 | 417.078 | 417.102 | 417.068 | 417.035 | 417.002 | 416.978 | 416.968 | 416.978 | 417.01 | 417.068 | 417.149 | 417.262 | 417.282 | 417.329 | 417.392 | 417.468 | 417.551 | 417.631 | 417.705 | 417.766 | 417.809 | 417.833 | 417.781 | 417.722 | 417.665 | 417.626 | 417.625 | 417.594 | 417.604 | 417.635 | 417.665 | 417.713 | 417.489 | 417.361 | 417.763 | 417.355 | 417.501 | 417.526 | 417.589 | 417.652 | 417.715 | 417.781 | 417.817 | 417.86 | 417.908 | 417.967 | 418.034 | 418.108 | 418.186 | 418.263 | 418.326 | 418.378 | 418.319 | 418.247 | 418.162 | 418.073 | 417.995 | 417.856 | 417.737 | 417.632 | 417.547 | 417.482 | 417.447 | 417.437 | 417.455 | 417.503 | 417.584 | 417.694 | 417.833 | 417.995 | 418.175 | 418.365 | 418.556 | 418.735 | 418.891 | 419.007 | 419.066 | 419.051 | 418.94 | 418.713 | 418.348 | 417.8201
59 | [7 empty] | 429.904 | 429.694 | 429.481 | 429.299 | 429.179 | 429.103 | 429.058 | 429.032 | 429.024 | 429.028 | 429.042 | 429.06 | 429.078 | 429.082 | 429.06 | 429.027 | 428.994 | 428.97 | 428.958 | 428.962 | 428.985 | 429.031 | 429.098 | 429.174 | 429.232 | 429.294 | 429.371 | 429.457 | 429.546 | 429.631 | 429.705 | 429.765 | 429.803 | 429.807 | 429.763 | 429.697 | 429.629 | 429.578 | 429.55 | 429.534 | 429.54 | 429.562 | 429.572 | 429.515 | 429.333 | 429.126 | 428.875 | 429.138 | 429.327 | 429.466 | 429.564 | 429.645 | 429.718 | 429.782 | 429.833 | 429.882 | 429.936 | 429.998 | 430.067 | 430.142 | 430.22 | 430.295 | 430.356 | 430.381 | 430.346 | 430.276 | 430.19 | 430.1 | 430.003 | 429.891 | 429.781 | 429.686 | 429.608 | 429.55 | 429.515 | 429.507 | 429.526 | 429.576 | 429.657 | 429.768 | 429.908 | 430.071 | 430.256 | 430.452 | 430.651 | 430.843 | 431.01 | 431.138 | 431.209 | 431.204 | 431.1 | 430.876 | 430.511 | 429.995
58 | [7 empty] | 442.467 | 442.255 | 442.042 | 441.857 | 441.723 | 441.632 | 441.571 | 441.532 | 441.51 | 441.5 | 441.5 | 441.506 | 441.511 | 441.506 | 441.484 | 441.453 | 441.422 | 441.397 | 441.382 | 441.379 | 441.391 | 441.418 | 441.464 | 441.526 | 441.598 | 441.683 | 441.779 | 441.878 | 441.975 | 442.064 | 442.139 | 442.195 | 442.226 | 442.22 | 442.172 | 442.098 | 442.018 | 441.948 | 441.904 | 441.887 | 441.891 | 441.899 | 441.88 | 441.787 | 441.586 | 441.315 | 440.811 | 441.347 | 441.628 | 441.829 | 441.965 | 442.066 | 442.149 | 442.219 | 442.278 | 442.333 | 442.393 | 442.459 | 442.531 | 442.605 | 442.681 | 442.75 | 442.803 | 442.822 | 442.791 | 442.725 | 442.641 | 442.546 | 442.449 | 442.349 | 442.256 | 442.174 | 442.107 | 442.056 | 442.024 | 442.018 | 442.039 | 442.089 | 442.171 | 442.283 | 442.423 | 442.59 | 442.777 | 442.981 | 443.19 | 443.393 | 443.574 | 443.717 | 443.801 | 443.807 | 443.713 | 443.496 | 443.133 | 442.641
57 | [8 empty] | 455.294 | 455.081 | 454.893 | 454.746 | 454.637 | 454.56 | 454.504 | 454.466 | 454.439 | 454.422 | 454.411 | 454.402 | 454.387 | 454.363 | 454.334 | 454.306 | 454.281 | 454.264 | 454.253 | 454.25 | 454.257 | 454.277 | 454.325 | 454.413 | 454.523 | 454.639 | 454.753 | 454.859 | 454.952 | 455.026 | 455.079 | 455.102 | 455.088 | 455.034 | 454.953 | 454.858 | 454.768 | 454.707 | 454.688 | 454.691 | 454.686 | 454.642 | 454.531 | 454.341 | 454.1 | 454.035 | 454.159 | 454.445 | 454.67 | 454.829 | 454.944 | 455.032 | 455.107 | 455.173 | 455.236 | 455.303 | 455.372 | 455.445 | 455.518 | 455.589 | 455.651 | 455.695 | 455.709 | 455.682 | 455.622 | 455.539 | 455.443 | 455.347 | 455.262 | 455.187 | 455.121 | 455.065 | 455.022 | 454.994 | 454.989 | 455.01 | 455.062 | 455.145 | 455.258 | 455.399 | 455.568 | 455.76 | 455.97 | 456.19 | 456.407 | 456.603 | 456.761 | 456.86 | 456.878 | 456.795 | 456.586 | 456.224 | 455.633
56 | [8 empty] | 468.826 | 468.614 | 468.422 | 468.262 | 468.138 | 468.041 | 467.967 | 467.909 | 467.864 | 467.828 | 467.798 | 467.772 | 467.747 | 467.721 | 467.694 | 467.669 | 467.646 | 467.626 | 467.608 | 467.592 | 467.58 | 467.576 | 467.606 | 467.711 | 467.846 | 467.982 | 468.11 | 468.224 | 468.32 | 468.395 | 468.443 | 468.459 | 468.438 | 468.379 | 468.29 | 468.183 | 468.074 | 467.994 | 467.978 | 467.983 | 467.968 | 467.91 | 467.801 | 467.659 | 467.51 | 467.368 | 467.599 | 467.828 | 468.035 | 468.193 | 468.309 | 468.398 | 468.474 | 468.545 | 468.616 | 468.688 | 468.762 | 468.834 | 468.904 | 468.968 | 469.022 | 469.058 | 469.069 | 469.047 | 468.996 | 468.918 | 468.823 | 468.729 | 468.66 | 468.604 | 468.552 | 468.506 | 468.47 | 468.444 | 468.44 | 468.464 | 468.517 | 468.601 | 468.715 | 468.857 | 469.027 | 469.223 | 469.44 | 469.671 | 469.902 | 470.115 | 470.289 | 470.403 | 470.435 | 470.362 | 470.161 | 469.803 | 469.247
55 | [9 empty] | 482.659 | 482.463 | 482.293 | 482.153 | 482.038 | 481.945 | 481.868 | 481.803 | 481.745 | 481.695 | 481.651 | 481.614 | 481.584 | 481.561 | 481.54 | 481.519 | 481.498 | 481.475 | 481.449 | 481.422 | 481.401 | 481.376 | 481.535 | 481.687 | 481.837 | 481.975 | 482.096 | 482.196 | 482.27 | 482.314 | 482.324 | 482.298 | 482.236 | 482.143 | 482.028 | 481.907 | 481.778 | 481.801 | 481.807 | 481.791 | 481.732 | 481.612 | 481.564 | 481.521 | 481.636 | 481.635 | 481.786 | 481.95 | 482.087 | 482.19 | 482.272 | 482.345 | 482.419 | 482.495 | 482.574 | 482.65 | 482.723 | 482.788 | 482.844 | 482.889 | 482.918 | 482.928 | 482.914 | 482.876 | 482.811 | 482.725 | 482.606 | 482.583 | 482.539 | 482.493 | 482.452 | 482.428 | 482.397 | 482.394 | 482.42 | 482.476 | 482.562 | 482.677 | 482.82 | 482.99 | 483.189 | 483.413 | 483.655 | 483.902 | 484.132 | 484.322 | 484.452 | 484.496 | 484.431 | 484.233 | 483.877 | 483.374
54 | [9 empty] | 497.111 | 496.913 | 496.722 | 496.557 | 496.415 | 496.293 | 496.187 | 496.093 | 496.008 | 495.93 | 495.865 | 495.814 | 495.782 | 495.761 | 495.745 | 495.728 | 495.708 | 495.682 | 495.651 | 495.618 | 495.593 | 495.614 | 495.727 | 495.881 | 496.037 | 496.18 | 496.305 | 496.407 | 496.48 | 496.521 | 496.527 | 496.498 | 496.436 | 496.344 | 496.229 | 496.108 | 496.018 | 496 | 496.007 | 495.995 | 495.951 | 495.895 | 495.869 | 495.892 | 496.057 | 496.023 | 496.119 | 496.234 | 496.337 | 496.417 | 496.483 | 496.548 | 496.622 | 496.704 | 496.788 | 496.866 | 496.936 | 496.996 | 497.044 | 497.08 | 497.103 | 497.115 | 497.113 | 497.095 | 497.053 | 496.989 | 496.92 | 496.869 | 496.823 | 496.773 | 496.728 | 496.693 | 496.671 | 496.673 | 496.704 | 496.763 | 496.852 | 496.967 | 497.11 | 497.281 | 497.481 | 497.711 | 497.967 | 498.234 | 498.489 | 498.706 | 498.861 | 498.929 | 498.884 | 498.697 | 498.337 | 497.798
53 | [9 empty] | 511.878 | 511.679 | 511.458 | 511.258 | 511.08 | 510.921 | 510.779 | 510.65 | 510.531 | 510.421 | 510.329 | 510.264 | 510.229 | 510.214 | 510.204 | 510.192 | 510.174 | 510.148 | 510.117 | 510.085 | 510.067 | 510.097 | 510.199 | 510.344 | 510.498 | 510.642 | 510.768 | 510.87 | 510.942 | 510.981 | 510.985 | 510.956 | 510.898 | 510.813 | 510.707 | 510.595 | 510.516 | 510.495 | 510.502 | 510.499 | 510.476 | 510.451 | 510.459 | 510.514 | 510.403 | 510.651 | 510.714 | 510.788 | 510.854 | 510.905 | 510.948 | 510.999 | 511.072 | 511.159 | 511.247 | 511.326 | 511.393 | 511.447 | 511.486 | 511.513 | 511.53 | 511.546 | 511.562 | 511.57 | 511.56 | 511.528 | 511.481 | 511.429 | 511.37 | 511.308 | 511.249 | 511.206 | 511.186 | 511.193 | 511.23 | 511.294 | 511.385 | 511.502 | 511.644 | 511.813 | 512.012 | 512.247 | 512.519 | 512.814 | 513.102 | 513.357 | 513.552 | 513.66 | 513.652 | 513.493 | 513.14
52 | [10 empty] | 526.805 | 526.566 | 526.343 | 526.14 | 525.956 | 525.789 | 525.634 | 525.489 | 525.354 | 525.236 | 525.155 | 525.121 | 525.113 | 525.109 | 525.101 | 525.086 | 525.063 | 525.036 | 525.01 | 525.002 | 525.037 | 525.131 | 525.265 | 525.41 | 525.55 | 525.673 | 525.775 | 525.849 | 525.887 | 525.89 | 525.864 | 525.817 | 525.746 | 525.652 | 525.555 | 525.486 | 525.469 | 525.48 | 525.488 | 525.482 | 525.477 | 525.502 | 525.578 | 525.86 | 525.712 | 525.746 | 525.789 | 525.822 | 525.842 | 525.857 | 525.89 | 525.961 | 526.053 | 526.143 | 526.221 | 526.283 | 526.33 | 526.36 | 526.378 | 526.391 | 526.411 | 526.448 | 526.489 | 526.516 | 526.52 | 526.495 | 526.439 | 526.365 | 526.282 | 526.204 | 526.149 | 526.129 | 526.144 | 526.186 | 526.255 | 526.349 | 526.467 | 526.609 | 526.775 | 526.972 | 527.209 | 527.497 | 527.82 | 528.141 | 528.431 | 528.664 | 528.81 | 528.839 | 528.715
51 | [10 empty] | 542.346 | 542.126 | 541.919 | 541.729 | 541.555 | 541.395 | 541.244 | 541.098 | 540.956 | 540.825 | 540.729 | 540.698 | 540.697 | 540.697 | 540.691 | 540.677 | 540.659 | 540.638 | 540.623 | 540.624 | 540.662 | 540.75 | 540.871 | 541.004 | 541.135 | 541.255 | 541.357 | 541.434 | 541.476 | 541.481 | 541.459 | 541.428 | 541.375 | 541.299 | 541.216 | 541.157 | 541.15 | 541.169 | 541.187 | 541.192 | 541.192 | 541.208 | 541.254 | 541.401 | 541.377 | 541.428 | 541.457 | 541.465 | 541.459 | 541.447 | 541.459 | 541.531 | 541.626 | 541.715 | 541.787 | 541.843 | 541.882 | 541.905 | 541.916 | 541.923 | 541.946 | 542.01 | 542.086 | 542.15 | 542.188 | 542.186 | 542.128 | 542.036 | 541.932 | 541.832 | 541.761 | 541.742 | 541.762 | 541.811 | 541.884 | 541.979 | 542.098 | 542.239 | 542.404 | 542.597 | 542.832 | 543.124 | 543.436 | 543.728 | 543.974 | 544.147 | 544.223 | 544.172 | 543.964
50 | [10 empty] | 558.3726 | 558.237 | 558.115 | 558.006 | 557.907 | 557.814 | 557.72 | 557.621 | 557.512 | 557.394 | 557.254 | 557.265 | 557.262 | 557.258 | 557.249 | 557.236 | 557.222 | 557.21 | 557.207 | 557.22 | 557.25 | 557.341 | 557.447 | 557.565 | 557.684 | 557.797 | 557.904 | 557.987 | 558.039 | 558.054 | 558.02 | 558.029 | 557.996 | 557.936 | 557.868 | 557.801 | 557.822 | 557.848 | 557.872 | 557.882 | 557.879 | 557.867 | 557.845 | 557.643 | 557.943 | 558.069 | 558.069 | 558.066 | 558.046 | 558.019 | 557.973 | 558.083 | 558.172 | 558.251 | 558.314 | 558.36 | 558.391 | 558.409 | 558.417 | 558.423 | 558.424 | 558.539 | 558.644 | 558.738 | 558.806 | 558.852 | 558.764 | 558.661 | 558.543 | 558.427 | 558.313 | 558.321 | 558.343 | 558.393 | 558.466 | 558.562 | 558.681 | 558.824 | 558.989 | 559.18 | 559.391 | 559.717 | 560.037 | 560.337 | 560.587 | 560.763 | 560.839
49 | [11 empty] | 576.07 | 575.9 | 575.744 | 575.6 | 575.465 | 575.336 | 575.211 | 575.084 | 574.96 | 574.86 | 574.819 | 574.802 | 574.787 | 574.771 | 574.756 | 574.748 | 574.749 | 574.764 | 574.792 | 574.839 | 574.909 | 574.996 | 575.094 | 575.201 | 575.312 | 575.42 | 575.515 | 575.585 | 575.623 | 575.634 | 575.633 | 575.611 | 575.567 | 575.516 | 575.482 | 575.489 | 575.515 | 575.542 | 575.553 | 575.54 | 575.506 | 575.449 | 575.448 | 575.499 | 575.59 | 575.625 | 575.626 | 575.61 | 575.588 | 575.585 | 575.636 | 575.704 | 575.763 | 575.811 | 575.845 | 575.869 | 575.883 | 575.894 | 575.911 | 575.956 | 576.054 | 576.174 | 576.285 | 576.367 | 576.393 | 576.343 | 576.243 | 576.123 | 576.005 | 575.918 | 575.886 | 575.897 | 575.938 | 576.005 | 576.098 | 576.215 | 576.355 | 576.52 | 576.714 | 576.951 | 577.251 | 577.571 | 577.869 | 578.116 | 578.287 | 578.357
48 | [12 empty] | 594.104 | 593.961 | 593.829 | 593.707 | 593.592 | 593.483 | 593.378 | 593.277 | 593.189 | 593.139 | 593.103 | 593.073 | 593.049 | 593.036 | 593.036 | 593.054 | 593.089 | 593.14 | 593.195 | 593.252 | 593.315 | 593.392 | 593.485 | 593.592 | 593.707 | 593.818 | 593.914 | 593.985 | 594.025 | 594.035 | 594.019 | 593.988 | 593.955 | 593.937 | 593.942 | 593.964 | 593.989 | 594 | 593.984 | 593.937 | 593.873 | 593.829 | 593.861 | 593.908 | 593.937 | 593.95 | 593.953 | 593.953 | 593.962 | 593.989 | 594.024 | 594.057 | 594.083 | 594.104 | 594.122 | 594.137 | 594.155 | 594.187 | 594.25 | 594.353 | 594.478 | 594.597 | 594.684 | 594.713 | 594.676 | 594.586 | 594.474 | 594.364 | 594.28 | 594.235 | 594.227 | 594.251 | 594.305 | 594.387 | 594.496 | 594.63 | 594.791 | 594.983 | 595.217 | 595.511 | 595.82 | 596.108 | 596.345 | 596.502
47 | [13 empty] | 612.919 | 612.806 | 612.701 | 612.606 | 612.52 | 612.443 | 612.372 | 612.297 | 612.243 | 612.187 | 612.142 | 612.11 | 612.098 | 612.107 | 612.141 | 612.2 | 612.275 | 612.341 | 612.381 | 612.418 | 612.474 | 612.555 | 612.661 | 612.785 | 612.916 | 613.043 | 613.152 | 613.222 | 613.243 | 613.231 | 613.209 | 613.193 | 613.187 | 613.189 | 613.203 | 613.225 | 613.238 | 613.219 | 613.16 | 613.095 | 612.973 | 613.02 | 613.016 | 613.033 | 613.062 | 613.094 | 613.125 | 613.148 | 613.154 | 613.152 | 613.152 | 613.156 | 613.164 | 613.176 | 613.194 | 613.222 | 613.269 | 613.345 | 613.453 | 613.579 | 613.699 | 613.789 | 613.824 | 613.793 | 613.713 | 613.611 | 613.513 | 613.433 | 613.377 | 613.349 | 613.354 | 613.392 | 613.46 | 613.557 | 613.681 | 613.835 | 614.019 | 614.24 | 614.527 | 614.823 | 615.095 | 615.312
46 | [14 empty] | 632.571 | 632.487 | 632.414 | 632.352 | 632.304 | 632.264 | 632.205 | 632.148 | 632.075 | 632.016 | 631.978 | 631.966 | 631.983 | 632.029 | 632.107 | 632.206 | 632.286 | 632.307 | 632.317 | 632.355 | 632.429 | 632.537 | 632.672 | 632.823 | 632.981 | 633.129 | 633.233 | 633.259 | 633.247 | 633.233 | 633.232 | 633.238 | 633.233 | 633.235 | 633.25 | 633.263 | 633.237 | 633.144 | 633.069 | 633.142 | 632.944 | 632.901 | 632.925 | 632.981 | 633.047 | 633.113 | 633.153 | 633.136 | 633.099 | 633.069 | 633.052 | 633.047 | 633.056 | 633.079 | 633.117 | 633.177 | 633.263 | 633.374 | 633.499 | 633.618 | 633.711 | 633.751 | 633.72 | 633.644 | 633.552 | 633.466 | 633.393 | 633.328 | 633.284 | 633.272 | 633.293 | 633.347 | 633.432 | 633.545 | 633.688 | 633.861 | 634.063 | 634.342 | 634.623 | 634.875 | 635.068
45 | [15 empty] | 653.111 | 653.056 | 653.013 | 652.984 | 652.964 | 652.971 | 652.862 | 652.781 | 652.717 | 652.677 | 652.665 | 652.683 | 652.733 | 652.815 | 652.924 | 653.074 | 653.017 | 653.014 | 653.048 | 653.123 | 653.237 | 653.383 | 653.55 | 653.731 | 653.908 | 654.087 | 654.072 | 654.064 | 654.06 | 654.071 | 654.107 | 654.071 | 654.058 | 654.057 | 654.055 | 654.074 | 653.843 | 653.7 | 653.805 | 653.556 | 653.556 | 653.628 | 653.724 | 653.824 | 653.915 | 654.011 | 653.933 | 653.87 | 653.818 | 653.786 | 653.775 | 653.785 | 653.814 | 653.864 | 653.935 | 654.028 | 654.14 | 654.26 | 654.374 | 654.465 | 654.531 | 654.471 | 654.395 | 654.309 | 654.232 | 654.188 | 654.098 | 654.045 | 654.023 | 654.035 | 654.079 | 654.155 | 654.259 | 654.391 | 654.549 | 654.73 | 655.002 | 655.267 | 655.499
44 | [16 empty] | 674.583 | 674.548 | 674.522 | 674.496 | 674.438 | 674.401 | 674.335 | 674.277 | 674.239 | 674.224 | 674.235 | 674.274 | 674.339 | 674.425 | 674.495 | 674.51 | 674.524 | 674.572 | 674.659 | 674.783 | 674.937 | 675.113 | 675.301 | 675.482 | 675.618 | 675.671 | 675.683 | 675.691 | 675.708 | 675.72 | 675.705 | 675.68 | 675.654 | 675.607 | 675.49 | 675.261 | 675.006 | 674.636 | 674.887 | 675.025 | 675.179 | 675.322 | 675.442 | 675.536 | 675.58 | 675.543 | 675.473 | 675.413 | 675.376 | 675.366 | 675.382 | 675.421 | 675.483 | 675.565 | 675.664 | 675.774 | 675.886 | 675.988 | 676.063 | 676.091 | 676.057 | 675.984 | 675.899 | 675.822 | 675.759 | 675.699 | 675.653 | 675.633 | 675.646 | 675.689 | 675.761 | 675.859 | 675.984 | 676.13 | 676.293 | 676.558 | 676.809
43 | [17 empty] | 697.017 | 696.979 | 696.931 | 696.855 | 696.833 | 696.786 | 696.738 | 696.702 | 696.681 | 696.676 | 696.687 | 696.714 | 696.755 | 696.795 | 696.83 | 696.881 | 696.96 | 697.067 | 697.203 | 697.361 | 697.538 | 697.719 | 697.887 | 698.015 | 698.087 | 698.121 | 698.144 | 698.164 | 698.172 | 698.156 | 698.122 | 698.07 | 697.977 | 697.803 | 697.527 | 697.214 | 697.052 | 697.165 | 697.419 | 697.647 | 697.815 | 697.931 | 698.004 | 698.025 | 697.989 | 697.925 | 697.869 | 697.838 | 697.838 | 697.866 | 697.921 | 697.997 | 698.091 | 698.195 | 698.302 | 698.404 | 698.488 | 698.542 | 698.551 | 698.513 | 698.441 | 698.353 | 698.271 | 698.207 | 698.162 | 698.134 | 698.132 | 698.157 | 698.209 | 698.287 | 698.39 | 698.515 | 698.657 | 698.809 | 699.067 | 699.307
42 | [18 empty] | 720.437 | 720.363 | 720.271 | 720.244 | 720.204 | 720.159 | 720.117 | 720.08 | 720.049 | 720.021 | 719.996 | 719.978 | 719.987 | 720.043 | 720.139 | 720.256 | 720.385 | 720.53 | 720.689 | 720.857 | 721.021 | 721.168 | 721.284 | 721.363 | 721.413 | 721.447 | 721.469 | 721.473 | 721.455 | 721.414 | 721.35 | 721.241 | 721.055 | 720.78 | 720.479 | 720.227 | 720.535 | 720.852 | 721.095 | 721.239 | 721.315 | 721.346 | 721.338 | 721.295 | 721.24 | 721.199 | 721.186 | 721.206 | 721.257 | 721.334 | 721.429 | 721.538 | 721.649 | 721.755 | 721.846 | 721.913 | 721.944 | 721.936 | 721.889 | 721.81 | 721.714 | 721.622 | 721.558 | 721.531 | 721.531 | 721.558 | 721.608 | 721.682 | 721.779 | 721.897 | 722.035 | 722.186 | 722.342 | 722.595
41 | [19 empty] | 744.894 | 744.784 | 744.728 | 744.67 | 744.607 | 744.541 | 744.476 | 744.408 | 744.334 | 744.25 | 744.17 | 744.14 | 744.223 | 744.365 | 744.513 | 744.658 | 744.804 | 744.958 | 745.11 | 745.249 | 745.367 | 745.463 | 745.54 | 745.596 | 745.633 | 745.652 | 745.651 | 745.626 | 745.583 | 745.525 | 745.44 | 745.298 | 745.086 | 744.862 | 744.71 | 745.044 | 745.366 | 745.544 | 745.6 | 745.599 | 745.574 | 745.532 | 745.48 | 745.435 | 745.417 | 745.434 | 745.487 | 745.571 | 745.678 | 745.8 | 745.928 | 746.051 | 746.159 | 746.245 | 746.296 | 746.308 | 746.282 | 746.224 | 746.137 | 746.03 | 745.923 | 745.853 | 745.847 | 745.884 | 745.948 | 746.035 | 746.144 | 746.277 | 746.43 | 746.6 | 746.781 | 746.962
40 | [20 empty] | 770.4879 | 770.388 | 770.272 | 770.156 | 770.041 | 769.926 | 769.81 | 769.688 | 769.558 | 769.427 | 769.27 | 769.468 | 769.634 | 769.792 | 769.934 | 770.062 | 770.207 | 770.337 | 770.448 | 770.534 | 770.579 | 770.664 | 770.711 | 770.735 | 770.739 | 770.732 | 770.685 | 770.64 | 770.6 | 770.564 | 770.551 | 770.428 | 770.356 | 770.367 | 770.644 | 771.004 | 770.93 | 770.859 | 770.763 | 770.673 | 770.61 | 770.54 | 770.515 | 770.533 | 770.595 | 770.695 | 770.825 | 770.973 | 771.13 | 771.284 | 771.421 | 771.543 | 771.628 | 771.672 | 771.67 | 771.617 | 771.56 | 771.465 | 771.35 | 771.235 | 771.096 | 771.171 | 771.239 | 771.342 | 771.476 | 771.639 | 771.827 | 772.038 | 772.267 | 772.506 | 772.7464
39 | [21 empty] | 796.529 | 796.436 | 796.35 | 796.27 | 796.191 | 796.113 | 796.027 | 795.932 | 795.839 | 795.801 | 795.88 | 796.013 | 796.144 | 796.261 | 796.371 | 796.481 | 796.582 | 796.665 | 796.725 | 796.766 | 796.796 | 796.807 | 796.795 | 796.764 | 796.717 | 796.658 | 796.605 | 796.576 | 796.584 | 796.633 | 796.724 | 796.872 | 797.004 | 797.188 | 797.234 | 797.139 | 796.968 | 796.789 | 796.64 | 796.538 | 796.489 | 796.502 | 796.574 | 796.697 | 796.857 | 797.045 | 797.246 | 797.449 | 797.64 | 797.808 | 797.941 | 798.032 | 798.078 | 798.075 | 798.031 | 797.956 | 797.856 | 797.743 | 797.644 | 797.634 | 797.584 | 797.644 | 797.756 | 797.908 | 798.093 | 798.305 | 798.541 | 798.792
38 | [22 empty] | 823.793 | 823.711 | 823.646 | 823.595 | 823.554 | 823.519 | 823.485 | 823.459 | 823.459 | 823.501 | 823.569 | 823.64 | 823.709 | 823.78 | 823.853 | 823.922 | 823.977 | 824.011 | 824.022 | 824.009 | 823.969 | 823.904 | 823.819 | 823.723 | 823.63 | 823.554 | 823.516 | 823.542 | 823.665 | 823.915 | 824.287 | 824.642 | 824.6 | 824.432 | 824.216 | 823.972 | 823.736 | 823.543 | 823.427 | 823.407 | 823.478 | 823.622 | 823.82 | 824.053 | 824.308 | 824.57 | 824.828 | 825.064 | 825.265 | 825.42 | 825.527 | 825.584 | 825.594 | 825.558 | 825.484 | 825.384 | 825.275 | 825.182 | 825.114 | 825.125 | 825.179 | 825.285 | 825.433 | 825.616 | 825.828
37 | [23 empty] | 852.232 | 852.184 | 852.165 | 852.173 | 852.205 | 852.252 | 852.305 | 852.342 | 852.351 | 852.343 | 852.338 | 852.345 | 852.366 | 852.399 | 852.437 | 852.466 | 852.473 | 852.451 | 852.393 | 852.297 | 852.168 | 852.017 | 851.863 | 851.723 | 851.607 | 851.531 | 851.528 | 851.653 | 851.951 | 852.408 | 853.249 | 852.733 | 852.5 | 852.255 | 851.991 | 851.728 | 851.509 | 851.394 | 851.42 | 851.57 | 851.801 | 852.082 | 852.391 | 852.715 | 853.04 | 853.354 | 853.64 | 853.877 | 854.055 | 854.18 | 854.255 | 854.284 | 854.264 | 854.196 | 854.097 | 853.99 | 853.899 | 853.859 | 853.842 | 853.891 | 853.988 | 854.128
36 | [24 empty] | 881.966 | 881.98 | 882.039 | 882.137 | 882.268 | 882.406 | 882.49 | 882.458 | 882.37 | 882.288 | 882.233 | 882.207 | 882.205 | 882.215 | 882.222 | 882.21 | 882.159 | 882.059 | 881.907 | 881.716 | 881.498 | 881.281 | 881.096 | 880.932 | 880.79 | 880.701 | 880.728 | 880.924 | 881.193 | 881.332 | 881.544 | 881.539 | 881.419 | 881.213 | 880.962 | 880.728 | 880.613 | 880.707 | 880.951 | 881.269 | 881.625 | 882.001 | 882.383 | 882.762 | 883.127 | 883.459 | 883.732 | 883.927 | 884.063 | 884.156 | 884.208 | 884.207 | 884.142 | 884.042 | 883.939 | 883.851 | 883.776 | 883.791 | 883.83 | 883.912
35 | [25 empty] | 913.139 | 913.236 | 913.384 | 913.571 | 913.772 | 914.003 | 913.829 | 913.685 | 913.552 | 913.455 | 913.395 | 913.366 | 913.356 | 913.348 | 913.323 | 913.28 | 913.123 | 912.932 | 912.698 | 912.433 | 912.143 | 911.952 | 911.749 | 911.547 | 911.362 | 911.157 | 911.306 | 911.328 | 910.969 | 911.7 | 911.966 | 912.029 | 911.922 | 911.718 | 911.491 | 911.26 | 911.537 | 911.851 | 912.223 | 912.625 | 913.038 | 913.453 | 913.862 | 914.254 | 914.615 | 914.95 | 915.112 | 915.247 | 915.347 | 915.412 | 915.465 | 915.352 | 915.251 | 915.161 | 915.096 | 915.068 | 915.029
34 | [26 empty] | 945.883 | 946.047 | 946.239 | 946.427 | 946.533 | 946.488 | 946.363 | 946.231 | 946.126 | 946.054 | 946.014 | 945.994 | 945.975 | 945.936 | 945.855 | 945.719 | 945.529 | 945.292 | 945.027 | 944.763 | 944.526 | 944.304 | 944.087 | 943.892 | 943.771 | 943.762 | 943.806 | 943.977 | 944.169 | 944.401 | 944.498 | 944.449 | 944.304 | 944.141 | 944.081 | 944.225 | 944.516 | 944.879 | 945.274 | 945.683 | 946.093 | 946.493 | 946.874 | 947.221 | 947.506 | 947.708 | 947.842 | 947.926 | 947.964 | 947.944 | 947.86 | 947.755 | 947.673 | 947.634 | 947.5522
33 | [27 empty] | 980.27 | 980.429 | 980.566 | 980.641 | 980.638 | 980.575 | 980.491 | 980.419 | 980.37 | 980.345 | 980.335 | 980.321 | 980.285 | 980.213 | 980.095 | 979.93 | 979.727 | 979.498 | 979.266 | 979.046 | 978.842 | 978.658 | 978.514 | 978.449 | 978.494 | 978.649 | 978.878 | 978.991 | 979.086 | 979.121 | 979.077 | 978.973 | 978.87 | 978.844 | 978.946 | 979.166 | 979.463 | 979.802 | 980.161 | 980.525 | 980.88 | 981.216 | 981.517 | 981.769 | 981.961 | 982.094 | 982.172 | 982.195 | 982.162 | 982.081 | 981.978 | 981.899 | 981.894
32 | [28 empty] | 1016.296 | 1016.378 | 1016.427 | 1016.467 | 1016.475 | 1016.465 | 1016.452 | 1016.452 | 1016.471 | 1016.496 | 1016.512 | 1016.502 | 1016.458 | 1016.374 | 1016.254 | 1016.103 | 1015.933 | 1015.754 | 1015.581 | 1015.425 | 1015.299 | 1015.218 | 1015.203 | 1015.279 | 1015.468 | 1015.86 | 1015.816 | 1015.874 | 1015.887 | 1015.839 | 1015.754 | 1015.674 | 1015.647 | 1015.699 | 1015.835 | 1016.04 | 1016.292 | 1016.569 | 1016.856 | 1017.137 | 1017.401 | 1017.64 | 1017.845 | 1018.012 | 1018.134 | 1018.202 | 1018.214 | 1018.167 | 1018.068 | 1017.93 | 1017.77
31 | [29 empty] | 1054.046 | 1054.066 | 1054.138 | 1054.21 | 1054.266 | 1054.31 | 1054.361 | 1054.433 | 1054.507 | 1054.563 | 1054.591 | 1054.585 | 1054.547 | 1054.482 | 1054.393 | 1054.286 | 1054.17 | 1054.051 | 1053.949 | 1053.883 | 1053.857 | 1053.858 | 1053.878 | 1053.956 | 1053.977 | 1054.361 | 1054.557 | 1054.618 | 1054.577 | 1054.498 | 1054.424 | 1054.38 | 1054.377 | 1054.427 | 1054.535 | 1054.687 | 1054.868 | 1055.062 | 1055.254 | 1055.435 | 1055.598 | 1055.748 | 1055.886 | 1055.996 | 1056.059 | 1056.065 | 1056.014 | 1055.912 | 1055.765
30 | [30 empty] | 1093.7185 | 1093.835 | 1093.927 | 1094.006 | 1094.073 | 1094.127 | 1094.258 | 1094.371 | 1094.462 | 1094.522 | 1094.535 | 1094.564 | 1094.551 | 1094.512 | 1094.457 | 1094.4 | 1094.311 | 1094.247 | 1094.217 | 1094.221 | 1094.296 | 1094.155 | 1094.148 | 1094.369 | 1094.624 | 1095.089 | 1095.063 | 1095.046 | 1094.989 | 1094.927 | 1094.888 | 1094.818 | 1094.796 | 1094.816 | 1094.876 | 1094.964 | 1095.068 | 1095.176 | 1095.277 | 1095.368 | 1095.431 | 1095.576 | 1095.676 | 1095.736 | 1095.746 | 1095.705 | 1095.64
29 | [31 empty] | 1135.353 | 1135.458 | 1135.576 | 1135.699 | 1135.837 | 1136.001 | 1136.169 | 1136.318 | 1136.434 | 1136.514 | 1136.553 | 1136.559 | 1136.538 | 1136.498 | 1136.445 | 1136.385 | 1136.332 | 1136.292 | 1136.256 | 1136.192 | 1136.087 | 1136.004 | 1135.952 | 1136.446 | 1136.847 | 1137.093 | 1137.191 | 1137.203 | 1137.17 | 1137.111 | 1137.035 | 1136.968 | 1136.925 | 1136.912 | 1136.926 | 1136.959 | 1137.002 | 1137.051 | 1137.103 | 1137.167 | 1137.246 | 1137.323 | 1137.377 | 1137.401 | 1137.396
28 | [32 empty] | 1179.214 | 1179.36 | 1179.532 | 1179.73 | 1179.948 | 1180.172 | 1180.379 | 1180.549 | 1180.664 | 1180.72 | 1180.722 | 1180.688 | 1180.632 | 1180.567 | 1180.499 | 1180.436 | 1180.373 | 1180.3 | 1180.202 | 1180.087 | 1180.003 | 1179.994 | 1180.406 | 1180.813 | 1181.129 | 1181.315 | 1181.389 | 1181.386 | 1181.33 | 1181.244 | 1181.151 | 1181.068 | 1181.006 | 1180.969 | 1180.955 | 1180.959 | 1180.978 | 1181.011 | 1181.057 | 1181.114 | 1181.172 | 1181.223 | 1181.263
27 | [33 empty] | 1225.424 | 1225.637 | 1225.885 | 1226.158 | 1226.439 | 1226.703 | 1226.92 | 1227.063 | 1227.117 | 1227.094 | 1227.023 | 1226.928 | 1226.832 | 1226.747 | 1226.676 | 1226.612 | 1226.549 | 1226.479 | 1226.417 | 1226.412 | 1226.564 | 1226.827 | 1227.171 | 1227.455 | 1227.63 | 1227.702 | 1227.696 | 1227.635 | 1227.539 | 1227.427 | 1227.32 | 1227.231 | 1227.165 | 1227.126 | 1227.111 | 1227.118 | 1227.143 | 1227.18 | 1227.227 | 1227.279 | 1227.334
26 | [34 empty] | 1274.055 | 1274.343 | 1274.663 | 1274.997 | 1275.317 | 1275.587 | 1275.755 | 1275.787 | 1275.713 | 1275.584 | 1275.436 | 1275.299 | 1275.194 | 1275.124 | 1275.084 | 1275.068 | 1275.07 | 1275.093 | 1275.167 | 1275.252 | 1275.649 | 1275.944 | 1276.125 | 1276.201 | 1276.21 | 1276.174 | 1276.098 | 1275.99 | 1275.867 | 1275.75 | 1275.65 | 1275.575 | 1275.528 | 1275.511 | 1275.519 | 1275.547 | 1275.586 | 1275.628 | 1275.677
25 | [36 empty] | 1325.482 | 1325.848 | 1326.204 | 1326.515 | 1326.773 | 1326.702 | 1326.574 | 1326.393 | 1326.195 | 1326 | 1325.878 | 1325.789 | 1325.745 | 1325.75 | 1325.857 | 1325.847 | 1326.018 | 1326.319 | 1326.575 | 1326.948 | 1326.882 | 1326.879 | 1326.858 | 1326.819 | 1326.764 | 1326.654 | 1326.538 | 1326.43 | 1326.337 | 1326.267 | 1326.224 | 1326.21 | 1326.223 | 1326.259 | 1326.321 | 1326.336
24 | [37 empty] | 1379.007 | 1379.349 | 1379.628 | 1379.789 | 1379.797 | 1379.681 | 1379.495 | 1379.277 | 1379.063 | 1378.875 | 1378.715 | 1378.58 | 1378.464 | 1378.36 | 1378.296 | 1378.371 | 1378.911 | 1378.84 | 1379.122 | 1379.373 | 1379.537 | 1379.627 | 1379.663 | 1379.652 | 1379.599 | 1379.525 | 1379.446 | 1379.375 | 1379.32 | 1379.286 | 1379.274 | 1379.283 | 1379.308 | 1379.3405
23 | [38 empty] | 1434.739 | 1434.975 | 1435.111 | 1435.108 | 1434.999 | 1434.814 | 1434.584 | 1434.337 | 1434.09 | 1433.849 | 1433.609 | 1433.363 | 1433.102 | 1432.818 | 1432.506 | 1431.779 | 1432.88 | 1433.5 | 1433.98 | 1434.319 | 1434.538 | 1434.662 | 1434.717 | 1434.724 | 1434.7 | 1434.662 | 1434.621 | 1434.585 | 1434.559 | 1434.547
22 | [39 empty] | 1492.816 | 1492.9425 | 1492.969 | 1492.899 | 1492.753 | 1492.556 | 1492.328 | 1492.088 | 1491.843 | 1491.592 | 1491.34 | 1491.099 | 1490.9 | 1490.813 | 1491.121 | 1491.152 | 1491.519 | 1491.901 | 1492.208 | 1492.422 | 1492.551 | 1492.623 | 1492.658 | 1492.67 | 1492.665 | 1492.648 | 1492.627 | 1492.608
21 | [41 empty] | 1554.556 | 1554.504 | 1554.38 | 1554.206 | 1554.007 | 1553.808 | 1553.612 | 1553.421 | 1553.242 | 1553.1 | 1553.034 | 1553.077 | 1553.217 | 1553.444 | 1553.689 | 1553.91 | 1554.065 | 1554.143 | 1554.156 | 1554.143 | 1554.167 | 1554.189 | 1554.193 | 1554.179
20 | [42 empty] | 1619.795 | 1619.695 | 1619.545 | 1619.364 | 1619.249 | 1619.134 | 1619.034 | 1618.95 | 1618.876 | 1618.878 | 1618.929 | 1619.074 | 1619.36 | 1619.679 | 1619.74 | 1619.747 | 1619.675 | 1619.532 | 1619.268 | 1619.348 | 1619.331 | 1619.285
19 | [43 empty] | 1688.894 | 1688.787 | 1688.667 | 1688.561 | 1688.483 | 1688.437 | 1688.433 | 1688.519 | 1688.434 | 1688.496 | 1688.871 | 1688.904 | 1689.162 | 1689.214 | 1689.203 | 1689.117 | 1688.986 | 1688.924 | 1688.636 | 1688.451
18 | [43 empty] | 1762.054 | 1761.966 | 1761.851 | 1761.735 | 1761.635 | 1761.558 | 1761.507 | 1761.467 | 1761.544 | 1761.653 | 1761.782 | 1762.069 | 1762.263 | 1762.463 | 1762.53 | 1762.47 | 1762.27 | 1761.841 | 1761.842
17 | [45 empty] | 1838.873 | 1838.737 | 1838.631 | 1838.556 | 1838.513 | 1838.487 | 1838.624 | 1838.789 | 1838.938 | 1839.354 | 1839.722 | 1839.974 | 1840.174 | 1840.294 | 1840.327 | 1840.3379
16 | [46 empty] | 1919.647 | 1919.639 | 1919.71 | 1919.835 | 1920.039 | 1920.075 | 1920.202 | 1920.39 | 1920.728 | 1921.101 | 1921.355 | 1921.548 | 1921.63
15 | [47 empty] | 2004.686 | 2005.009 | 2005.372 | 2005.5214 | 2005.888 | 2006.003 | 2005.922 | 2006.408 | 2006.69 | 2006.953 | 2007.126
14 | [48 empty] | 2092.44 | 2093.111 | 2093.816 | 2093.845 | 2093.967 | 2094.383 | 2094.462 | 2094.892 | 2094.607
13 | [50 empty] | 2199.126 | 2199.622 | 2199.787 | 2199.808 | 2199.729 | 2199.741 | 2199.912
12 | [51 empty] | 2291.036 | 2291.094 | 2291.7662 | 2290.455 | 2289.926

## Interpolation QC
Polar angle | 0 deg
Interpolation task | Filled integer azimuthal-angle columns in Calibration Matrix
Method | Row-wise phi interpolation constrained by averaged +35/-35 reference field via log-ratio B0/Bref
Reference | Bref(z,phi) = mean(B_+35(z,phi), B_-35(z,phi)) when available; single available polar-angle reference used near limits
Coordinates | log(B) and log(z) used for z-dependent reference interpolation; log-ratio interpolated versus phi
Existing numeric cells preserved | 806
Black/inaccessible cells preserved | 2184
New cells filled | 5999
New cells skipped due missing refs/anchors | 0
Minimum z rule | No values added for z < 12
Remaining non-black blanks at z >= 12 | 0
Columns with monotonicity violation | 0