## Raw Data
Z (stage position) | Theta (degrees) | Phi (degrees) | B_total (G, offset-corrected) | Standard Error (G) | Bx_unit | By_unit | Bz_unit | Timestamp
100 | 0 | 100 | 156.3978 | 0.12329 | -0.69205 | -0.0062333 | 0.72182 | 2026-05-18 16:55:46
90 | 0 | 100 | 194.9724 | 0.1172 | -0.6906 | -0.0053206 | 0.72322 | 2026-05-18 16:56:16
80 | 0 | 100 | 246.317 | 0.1209 | -0.68938 | -0.0065263 | 0.72437 | 2026-05-18 16:56:40
70 | 0 | 100 | 317.6111 | 0.12007 | -0.6909 | -0.004505 | 0.72294 | 2026-05-18 16:57:10
60 | 0 | 100 | 417.8201 | 0.11375 | -0.6914 | -0.0010301 | 0.72247 | 2026-05-18 16:57:33
50 | 0 | 100 | 559.9288 | 0.12073 | -0.69125 | 0.00065332 | 0.72261 | 2026-05-18 16:57:57
55 | 0 | 100 | 483.374 | 0.12094 | -0.69152 | 0.000673 | 0.72236 | 2026-05-18 16:59:10
40 | 0 | 90 | 772.7464 | 0.11913 | -0.80542 | 0.002923 | 0.5927 | 2026-05-18 16:59:57
34 | 0 | 80 | 947.5522 | 0.12047 | -0.89526 | 0.0028658 | 0.44554 | 2026-05-18 17:01:24
24 | 0 | 70 | 1379.3405 | 0.12658 | -0.95948 | 0.0030794 | 0.28174 | 2026-05-18 17:31:26
17 | 0 | 60 | 1840.3379 | 0.126 | -0.99388 | 0.0022634 | 0.11045 | 2026-05-18 17:32:20
12 | 0 | 53 | 2291.7662 | 0.13127 | -0.99992 | 0.0014089 | -0.012499 | 2026-05-18 17:33:43
15 | 0 | 50 | 2005.5214 | 0.12698 | -0.99788 | 0.00087499 | -0.065057 | 2026-05-18 17:34:15
22 | 0 | 40 | 1492.9425 | 0.12592 | -0.97111 | -0.00021798 | -0.23864 | 2026-05-18 17:35:26
30 | 0 | 30 | 1093.7185 | 0.11982 | -0.91468 | -0.0022035 | -0.40416 | 2026-05-18 17:35:57
40 | 0 | 20 | 770.4879 | 0.12686 | -0.83141 | -0.0050842 | -0.55564 | 2026-05-18 17:36:36
50 | 0 | 10 | 558.3726 | 0.11624 | -0.72277 | -0.0084743 | -0.69103 | 2026-05-18 17:37:09
70 | 0 | 0 | 316.8959 | 0.11993 | -0.59445 | -0.015596 | -0.80398 | 2026-05-18 17:38:26

## Calibration Matrix
Z \ Phi | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100
100 | 156.006 | [9 empty] | 156.447 | [9 empty] | 156.535 | [9 empty] | 156.297 | [9 empty] | 156.34 | [9 empty] | 156.464 |  |  | 156.505 | [6 empty] | 156.487 | [9 empty] | 156.459 | [9 empty] | 156.699 | [9 empty] | 156.665 | [9 empty] | 156.3978
99 | 159.366 | [9 empty] | 159.752 | [9 empty] | 159.862 | [9 empty] | 159.661 | [9 empty] | 159.673 | [9 empty] | 159.853 |  |  | 159.817 | [6 empty] | 159.768 | [9 empty] | 159.817 | [9 empty] | 160.027 | [9 empty] | 159.976 | [9 empty] | 159.775
98 | 162.797 | [9 empty] | 163.149 | [9 empty] | 163.276 | [9 empty] | 163.1 | [9 empty] | 163.094 | [9 empty] | 163.315 |  |  | 163.272 | [6 empty] | 163.149 | [9 empty] | 163.255 | [9 empty] | 163.436 | [9 empty] | 163.377 | [9 empty] | 163.123
97 | 166.351 | [9 empty] | 166.656 | [9 empty] | 166.799 | [9 empty] | 166.649 | [9 empty] | 166.624 | [9 empty] | 166.879 |  |  | 166.924 | [6 empty] | 166.631 | [9 empty] | 166.805 | [9 empty] | 166.951 | [9 empty] | 166.888 | [9 empty] | 166.662
96 | 170.028 | [9 empty] | 170.275 | [9 empty] | 170.433 | [9 empty] | 170.307 | [9 empty] | 170.261 | [9 empty] | 170.539 |  |  | 170.707 | [6 empty] | 170.221 | [9 empty] | 170.469 | [9 empty] | 170.573 | [9 empty] | 170.511 | [9 empty] | 170.487
95 | 173.83 | [9 empty] | 174.01 | [9 empty] | 174.18 | [9 empty] | 174.093 | [9 empty] | 174.012 | [9 empty] | 174.342 |  |  | 174.488 | [6 empty] | 173.921 | [9 empty] | 174.249 | [9 empty] | 174.326 | [9 empty] | 174.249 | [9 empty] | 174.026
94 | 177.757 | [9 empty] | 177.864 | [9 empty] | 178.043 | [9 empty] | 177.941 | [9 empty] | 177.877 | [9 empty] | 178.097 |  |  | 178.442 | [6 empty] | 177.735 | [9 empty] | 178.146 | [9 empty] | 178.126 | [9 empty] | 178.105 | [9 empty] | 178.036
93 | 181.811 | [9 empty] | 181.84 | [9 empty] | 182.024 | [9 empty] | 181.918 | [9 empty] | 181.859 | [9 empty] | 181.995 |  |  | 182.212 | [6 empty] | 181.668 | [9 empty] | 182.161 | [9 empty] | 182.061 | [9 empty] | 182.082 | [9 empty] | 182.051
92 | 185.991 | [9 empty] | 185.943 | [9 empty] | 186.126 | [9 empty] | 186.01 | [9 empty] | 185.961 | [9 empty] | 185.994 |  |  | 186.224 | [6 empty] | 185.725 | [9 empty] | 186.296 | [9 empty] | 186.112 | [9 empty] | 186.183 | [9 empty] | 186.179
91 | 190.297 | [9 empty] | 190.177 | [9 empty] | 190.347 | [9 empty] | 190.217 | [9 empty] | 190.186 | [9 empty] | 190.105 |  |  | 190.189 | [6 empty] | 189.912 | [9 empty] | 190.549 | [9 empty] | 190.288 | [9 empty] | 190.408 | [9 empty] | 190.452
90 | 194.774 | [9 empty] | 194.55 | [9 empty] | 194.724 | [9 empty] | 194.575 | [9 empty] | 194.555 | [9 empty] | 194.313 |  |  | 194.07 | [6 empty] | 194.228 | [9 empty] | 194.965 | [9 empty] | 194.585 | [9 empty] | 194.787 | [9 empty] | 194.9724
89 | 199.241 | [9 empty] | 199.032 | [9 empty] | 199.125 | [9 empty] | 198.957 | [9 empty] | 198.989 | [9 empty] | 198.74 |  |  | 198.629 | [6 empty] | 198.685 | [9 empty] | 199.371 | [9 empty] | 199.027 | [9 empty] | 199.217 | [9 empty] | 199.449
88 | 203.856 | [9 empty] | 203.639 | [9 empty] | 203.661 | [9 empty] | 203.474 | [9 empty] | 203.552 | [9 empty] | 203.264 |  |  | 203.035 | [6 empty] | 203.259 | [9 empty] | 203.92 | [9 empty] | 203.578 | [9 empty] | 203.782 | [9 empty] | 204.051
87 | 208.584 | [9 empty] | 208.37 | [9 empty] | 208.31 | [9 empty] | 208.106 | [9 empty] | 208.231 | [9 empty] | 207.93 |  |  | 207.879 | [6 empty] | 207.961 | [9 empty] | 208.58 | [9 empty] | 208.252 | [9 empty] | 208.465 | [9 empty] | 208.908
86 | 213.436 | [9 empty] | 213.235 | [9 empty] | 213.085 | [9 empty] | 212.868 | [9 empty] | 213.04 | [9 empty] | 212.748 |  |  | 212.454 | [6 empty] | 212.803 | [9 empty] | 213.363 | [9 empty] | 213.058 | [9 empty] | 213.277 | [9 empty] | 213.731
85 | 218.424 | [9 empty] | 218.244 | [9 empty] | 217.996 | [9 empty] | 217.744 | [9 empty] | 217.99 | [9 empty] | 217.73 |  |  | 217.624 | [6 empty] | 217.794 | [9 empty] | 218.283 | [9 empty] | 218.022 | [9 empty] | 218.231 | [9 empty] | 218.687
84 | 223.56 | [9 empty] | 223.407 | [9 empty] | 223.059 | [9 empty] | 222.867 | [9 empty] | 223.094 | [9 empty] | 222.873 |  |  | 222.717 | [6 empty] | 222.944 | [9 empty] | 223.356 | [9 empty] | 223.087 | [9 empty] | 223.339 | [9 empty] | 223.838
83 | 228.857 | [9 empty] | 228.737 | [9 empty] | 228.287 | [9 empty] | 228.136 | [9 empty] | 228.367 | [9 empty] | 228.2 |  |  | 228.398 | [6 empty] | 228.268 | [9 empty] | 228.597 | [9 empty] | 228.334 | [9 empty] | 228.613 | [9 empty] | 229.092
82 | 234.328 | [9 empty] | 234.244 | [9 empty] | 233.697 | [9 empty] | 233.596 | [9 empty] | 233.823 | [9 empty] | 233.717 |  |  | 233.708 | [6 empty] | 233.777 | [9 empty] | 234.022 | [9 empty] | 233.762 | [9 empty] | 234.071 | [9 empty] | 234.707
81 | 239.988 | [9 empty] | 239.944 | [9 empty] | 239.309 | [9 empty] | 239.261 | [9 empty] | 239.481 | [9 empty] | 239.439 |  |  | 239.418 | [6 empty] | 239.486 | [9 empty] | 239.652 | [9 empty] | 239.391 | [9 empty] | 239.731 | [9 empty] | 240.303
80 | 245.871 | [9 empty] | 245.867 | [9 empty] | 245.125 | [9 empty] | 245.148 | [9 empty] | 245.354 | [9 empty] | 245.385 |  |  | 245.348 | [6 empty] | 245.423 | [9 empty] | 245.487 | [9 empty] | 245.226 | [9 empty] | 245.599 | [9 empty] | 246.317
79 | 251.911 | [9 empty] | 251.955 | [9 empty] | 251.225 | [9 empty] | 251.266 | [9 empty] | 251.478 | [9 empty] | 251.542 |  |  | 251.618 | [6 empty] | 251.549 | [9 empty] | 251.618 | [9 empty] | 251.329 | [9 empty] | 251.73 | [9 empty] | 252.407
78 | 258.168 | [9 empty] | 258.27 | [9 empty] | 257.54 | [9 empty] | 257.61 | [9 empty] | 257.824 | [9 empty] | 257.923 |  |  | 257.915 | [6 empty] | 257.906 | [9 empty] | 257.963 | [9 empty] | 257.647 | [9 empty] | 258.079 | [9 empty] | 258.576
77 | 264.634 | [9 empty] | 264.801 | [9 empty] | 264.092 | [9 empty] | 264.184 | [9 empty] | 264.406 | [9 empty] | 264.529 |  |  | 264.523 | [6 empty] | 264.489 | [9 empty] | 264.546 | [9 empty] | 264.197 | [9 empty] | 264.662 | [9 empty] | 265.16
76 | 271.324 | [9 empty] | 271.556 | [9 empty] | 270.885 | [9 empty] | 270.989 | [9 empty] | 271.228 | [9 empty] | 271.359 |  |  | 271.615 | [6 empty] | 271.304 | [9 empty] | 271.369 | [9 empty] | 270.982 | [9 empty] | 271.482 | [9 empty] | 272.021
75 | 278.248 | [9 empty] | 278.541 | [9 empty] | 277.924 | [9 empty] | 278.053 | [9 empty] | 278.295 | [9 empty] | 278.429 |  |  | 278.576 | [6 empty] | 278.355 | [9 empty] | 278.436 | [9 empty] | 278.007 | [9 empty] | 278.547 | [9 empty] | 278.831
74 | 285.422 | [9 empty] | 285.762 | [9 empty] | 285.211 | [9 empty] | 285.282 | [9 empty] | 285.612 | [9 empty] | 285.684 |  |  | 285.795 | [6 empty] | 285.65 | [9 empty] | 285.752 | [9 empty] | 285.266 | [9 empty] | 285.858 | [9 empty] | 286.021
73 | 292.858 | [9 empty] | 293.225 | [9 empty] | 292.75 | [9 empty] | 292.777 | [9 empty] | 293.181 | [9 empty] | 293.186 |  |  | 293.294 | [6 empty] | 293.191 | [9 empty] | 293.317 | [9 empty] | 292.774 | [9 empty] | 293.42 | [9 empty] | 293.571
72 | 300.573 | [9 empty] | 300.936 | [9 empty] | 300.543 | [9 empty] | 300.52 | [9 empty] | 301.005 | [9 empty] | 300.926 |  |  | 301.124 | [6 empty] | 300.984 | [9 empty] | 301.136 | [9 empty] | 300.535 | [9 empty] | 301.237 | [9 empty] | 301.529
71 | 308.583 | [9 empty] | 308.899 | [9 empty] | 308.593 | [9 empty] | 308.521 | [9 empty] | 309.086 | [9 empty] | 308.915 |  |  | 309.198 | [6 empty] | 309.03 | [9 empty] | 309.212 | [9 empty] | 308.553 | [9 empty] | 309.309 | [9 empty] | 309.498
70 | 316.8959 | [9 empty] | 317.111 | [9 empty] | 316.908 | [9 empty] | 316.76 | [9 empty] | 317.432 | [9 empty] | 317.133 |  |  | 317.35 | [6 empty] | 317.335 | [9 empty] | 317.551 | [9 empty] | 316.823 | [9 empty] | 317.644 | [9 empty] | 317.6111
69 | [10 empty] | 325.632 | [9 empty] | 325.458 | [9 empty] | 325.369 | [9 empty] | 326.017 | [9 empty] | 325.738 |  |  | 325.748 | [6 empty] | 325.912 | [9 empty] | 326.154 | [9 empty] | 325.413 | [9 empty] | 326.236 | [9 empty] | 325.991
68 | [10 empty] | 334.447 | [9 empty] | 334.315 | [9 empty] | 334.264 | [9 empty] | 334.906 | [9 empty] | 334.628 |  |  | 334.63 | [6 empty] | 334.791 | [9 empty] | 335.065 | [9 empty] | 334.302 | [9 empty] | 335.133 | [9 empty] | 334.718
67 | [10 empty] | 343.577 | [9 empty] | 343.477 | [9 empty] | 343.479 | [9 empty] | 344.1 | [9 empty] | 343.842 |  |  | 343.767 | [6 empty] | 343.98 | [9 empty] | 344.286 | [9 empty] | 343.509 | [9 empty] | 344.338 | [9 empty] | 343.795
66 | [10 empty] | 353.031 | [9 empty] | 352.956 | [9 empty] | 353.016 | [9 empty] | 353.608 | [9 empty] | 353.385 |  |  | 353.217 | [6 empty] | 353.489 | [9 empty] | 353.832 | [9 empty] | 353.041 | [9 empty] | 353.865 | [9 empty] | 353.279
65 | [10 empty] | 362.819 | [9 empty] | 362.764 | [9 empty] | 362.893 | [9 empty] | 363.442 | [9 empty] | 363.274 |  |  | 363.29 | [6 empty] | 363.327 | [9 empty] | 363.709 | [9 empty] | 362.912 | [9 empty] | 363.723 | [9 empty] | 363.117
64 | [10 empty] | 372.953 | [9 empty] | 372.911 | [9 empty] | 373.059 | [9 empty] | 373.611 | [9 empty] | 373.457 |  |  | 373.291 | [6 empty] | 373.505 | [9 empty] | 373.927 | [9 empty] | 373.102 | [9 empty] | 373.924 | [9 empty] | 373.314
63 | [10 empty] | 383.446 | [9 empty] | 383.408 | [9 empty] | 383.578 | [9 empty] | 384.124 | [9 empty] | 383.992 |  |  | 383.695 | [6 empty] | 384.03 | [9 empty] | 384.495 | [9 empty] | 383.647 | [9 empty] | 384.478 | [9 empty] | 383.977
62 | [10 empty] | 394.308 | [9 empty] | 394.265 | [9 empty] | 394.443 | [9 empty] | 394.991 | [9 empty] | 394.871 |  |  | 394.616 | [6 empty] | 394.912 | [9 empty] | 395.419 | [9 empty] | 394.552 | [9 empty] | 395.396 | [9 empty] | 394.908
61 | [10 empty] | 405.555 | [9 empty] | 405.49 | [9 empty] | 405.662 | [9 empty] | 406.222 | [9 empty] | 406.093 |  |  | 405.784 | [6 empty] | 406.157 | [9 empty] | 406.707 | [9 empty] | 405.828 | [9 empty] | 406.688 | [9 empty] | 406.063
60 | [10 empty] | 417.185 | [9 empty] | 417.102 | [9 empty] | 417.262 | [9 empty] | 417.833 | [9 empty] | 417.713 |  |  | 417.763 | [6 empty] | 417.781 | [9 empty] | 418.378 | [9 empty] | 417.482 | [9 empty] | 418.365 | [9 empty] | 417.8201
59 | [10 empty] | 429.299 | [9 empty] | 429.082 | [9 empty] | 429.174 | [9 empty] | 429.807 | [9 empty] | 429.515 |  |  | 428.875 | [6 empty] | 429.782 | [9 empty] | 430.381 | [9 empty] | 429.55 | [9 empty] | 430.452 | [9 empty] | 429.995
58 | [10 empty] | 441.857 | [9 empty] | 441.506 | [9 empty] | 441.526 | [9 empty] | 442.22 | [9 empty] | 441.787 |  |  | 440.811 | [6 empty] | 442.219 | [9 empty] | 442.822 | [9 empty] | 442.056 | [9 empty] | 442.981 | [9 empty] | 442.641
57 | [10 empty] | 454.893 | [9 empty] | 454.387 | [9 empty] | 454.325 | [9 empty] | 455.088 | [9 empty] | 454.531 |  |  | 454.035 | [6 empty] | 455.107 | [9 empty] | 455.709 | [9 empty] | 455.022 | [9 empty] | 455.97 | [9 empty] | 455.633
56 | [10 empty] | 468.422 | [9 empty] | 467.747 | [9 empty] | 467.606 | [9 empty] | 468.438 | [9 empty] | 467.801 |  |  | 467.368 | [6 empty] | 468.474 | [9 empty] | 469.069 | [9 empty] | 468.47 | [9 empty] | 469.44 | [9 empty] | 469.247
55 | [10 empty] | 482.463 | [9 empty] | 481.614 | [9 empty] | 481.376 | [9 empty] | 482.298 | [9 empty] | 481.612 |  |  | 481.636 | [6 empty] | 482.345 | [9 empty] | 482.928 | [9 empty] | 482.428 | [9 empty] | 483.413 | [9 empty] | 483.374
54 | [10 empty] | 496.913 | [9 empty] | 495.814 | [9 empty] | 495.614 | [9 empty] | 496.498 | [9 empty] | 495.895 |  |  | 496.057 | [6 empty] | 496.548 | [9 empty] | 497.115 | [9 empty] | 496.693 | [9 empty] | 497.711 | [9 empty] | 497.798
53 | [10 empty] | 511.679 | [9 empty] | 510.264 | [9 empty] | 510.097 | [9 empty] | 510.956 | [9 empty] | 510.451 |  |  | 510.403 | [6 empty] | 510.999 | [9 empty] | 511.546 | [9 empty] | 511.206 | [9 empty] | 512.247 | [9 empty] | 512.48
52 | [10 empty] | 526.805 | [9 empty] | 525.155 | [9 empty] | 525.037 | [9 empty] | 525.864 | [9 empty] | 525.477 |  |  | 525.86 | [6 empty] | 525.89 | [9 empty] | 526.411 | [9 empty] | 526.149 | [9 empty] | 527.209 | [9 empty] | 527.825
51 | [10 empty] | 542.346 | [9 empty] | 540.729 | [9 empty] | 540.662 | [9 empty] | 541.459 | [9 empty] | 541.192 |  |  | 541.401 | [6 empty] | 541.459 | [9 empty] | 541.946 | [9 empty] | 541.761 | [9 empty] | 542.832
50 | [10 empty] | 558.3726 | [9 empty] | 557.254 | [9 empty] | 557.25 | [9 empty] | 558.02 | [9 empty] | 557.879 |  |  | 557.643 | [6 empty] | 557.973 | [9 empty] | 558.424 | [9 empty] | 558.313 | [9 empty] | 559.391
49 | [20 empty] | 574.86 | [9 empty] | 574.839 | [9 empty] | 575.634 | [9 empty] | 575.54 |  |  | 575.448 | [6 empty] | 575.585 | [9 empty] | 575.956 | [9 empty] | 575.918 | [9 empty] | 576.951
48 | [20 empty] | 593.189 | [9 empty] | 593.195 | [9 empty] | 594.025 | [9 empty] | 593.984 |  |  | 593.829 | [6 empty] | 593.962 | [9 empty] | 594.25 | [9 empty] | 594.28 | [9 empty] | 595.217
47 | [20 empty] | 612.297 | [9 empty] | 612.341 | [9 empty] | 613.222 | [9 empty] | 613.219 |  |  | 612.973 | [6 empty] | 613.148 | [9 empty] | 613.345 | [9 empty] | 613.433 | [9 empty] | 614.24
46 | [20 empty] | 632.205 | [9 empty] | 632.286 | [9 empty] | 633.233 | [9 empty] | 633.237 |  |  | 633.142 | [6 empty] | 633.153 | [9 empty] | 633.263 | [9 empty] | 633.393 | [9 empty] | 634.063
45 | [20 empty] | 652.971 | [9 empty] | 653.074 | [9 empty] | 654.087 | [9 empty] | 654.074 |  |  | 653.805 | [6 empty] | 654.011 | [9 empty] | 654.028 | [9 empty] | 654.188 | [9 empty] | 654.73
44 | [20 empty] | 674.438 | [9 empty] | 674.495 | [9 empty] | 675.618 | [9 empty] | 675.49 |  |  | 674.636 | [6 empty] | 675.58 | [9 empty] | 675.664 | [9 empty] | 675.759 | [9 empty] | 676.293
43 | [20 empty] | 696.855 | [9 empty] | 696.795 | [9 empty] | 698.015 | [9 empty] | 697.803 |  |  | 697.052 | [6 empty] | 698.025 | [9 empty] | 698.195 | [9 empty] | 698.207 | [9 empty] | 698.809
42 | [20 empty] | 720.271 | [9 empty] | 719.987 | [9 empty] | 721.284 | [9 empty] | 721.055 |  |  | 720.227 | [6 empty] | 721.338 | [9 empty] | 721.649 | [9 empty] | 721.558 | [9 empty] | 722.342
41 | [20 empty] | 744.784 | [9 empty] | 744.14 | [9 empty] | 745.463 | [9 empty] | 745.298 |  |  | 744.71 | [6 empty] | 745.532 | [9 empty] | 746.051 | [9 empty] | 745.853 | [9 empty] | 746.962
40 | [20 empty] | 770.4879 | [9 empty] | 769.27 | [9 empty] | 770.579 | [9 empty] | 770.551 |  |  | 770.367 | [6 empty] | 770.61 | [9 empty] | 771.421 | [9 empty] | 771.096 | [9 empty] | 772.7464
39 | [30 empty] | 795.801 | [9 empty] | 796.766 | [9 empty] | 796.633 |  |  | 797.004 | [6 empty] | 796.538 | [9 empty] | 797.808 | [9 empty] | 797.634
38 | [30 empty] | 823.459 | [9 empty] | 824.022 | [9 empty] | 823.665 |  |  | 824.642 | [6 empty] | 823.427 | [9 empty] | 825.265 | [9 empty] | 825.114
37 | [30 empty] | 852.342 | [9 empty] | 852.451 | [9 empty] | 851.653 |  |  | 853.249 | [6 empty] | 851.394 | [9 empty] | 853.877 | [9 empty] | 853.859
36 | [30 empty] | 882.49 | [9 empty] | 882.159 | [9 empty] | 880.728 |  |  | 881.332 | [6 empty] | 880.613 | [9 empty] | 883.732 | [9 empty] | 883.776
35 | [30 empty] | 914.003 | [9 empty] | 913.28 | [9 empty] | 911.157 |  |  | 910.969 | [6 empty] | 911.26 | [9 empty] | 914.95 | [9 empty] | 915.068
34 | [30 empty] | 946.533 | [9 empty] | 945.855 | [9 empty] | 943.771 |  |  | 943.977 | [6 empty] | 944.081 | [9 empty] | 947.506 | [9 empty] | 947.5522
33 | [30 empty] | 980.641 | [9 empty] | 980.213 | [9 empty] | 978.449 |  |  | 978.878 | [6 empty] | 978.844 | [9 empty] | 981.769
32 | [30 empty] | 1016.427 | [9 empty] | 1016.458 | [9 empty] | 1015.203 |  |  | 1015.86 | [6 empty] | 1015.647 | [9 empty] | 1017.845
31 | [30 empty] | 1054.066 | [9 empty] | 1054.585 | [9 empty] | 1053.858 |  |  | 1053.977 | [6 empty] | 1054.38 | [9 empty] | 1055.748
30 | [30 empty] | 1093.7185 | [9 empty] | 1094.535 | [9 empty] | 1094.296 |  |  | 1094.369 | [6 empty] | 1094.888 | [9 empty] | 1095.431
29 | [40 empty] | 1136.514 | [9 empty] | 1136.192 |  |  | 1135.952 | [6 empty] | 1137.111 | [9 empty] | 1137.167
28 | [40 empty] | 1180.664 | [9 empty] | 1180.202 |  |  | 1179.994 | [6 empty] | 1181.33 | [9 empty] | 1181.057
27 | [40 empty] | 1227.063 | [9 empty] | 1226.479 |  |  | 1226.564 | [6 empty] | 1227.635 | [9 empty] | 1227.18
26 | [40 empty] | 1275.755 | [9 empty] | 1275.07 |  |  | 1275.252 | [6 empty] | 1276.098 | [9 empty] | 1275.586
25 | [40 empty] | 1326.773 | [9 empty] | 1325.857 |  |  | 1326.319 | [6 empty] | 1326.764 | [9 empty] | 1326.321
24 | [40 empty] | 1379.789 | [9 empty] | 1378.36 |  |  | 1378.911 | [6 empty] | 1379.652 | [9 empty] | 1379.3405
23 | [40 empty] | 1435.111 | [9 empty] | 1433.102 |  |  | 1431.779 | [6 empty] | 1434.717
22 | [40 empty] | 1492.9425 | [9 empty] | 1491.099 |  |  | 1491.121 | [6 empty] | 1492.623
21 | [50 empty] | 1553.1 |  |  | 1553.217 | [6 empty] | 1554.143
20 | [50 empty] | 1618.876 |  |  | 1619.074 | [6 empty] | 1619.268
19 | [50 empty] | 1688.519 |  |  | 1688.871 | [6 empty] | 1688.924
18 | [50 empty] | 1761.467 |  |  | 1761.782 | [6 empty] | 1761.841
17 | [50 empty] | 1838.487 |  |  | 1838.938 | [6 empty] | 1840.3379
16 | [50 empty] | 1920.039 |  |  | 1920.39
15 | [50 empty] | 2005.5214 |  |  | 2005.922
14 | [53 empty] | 2094.383
13 | [53 empty] | 2199.808
12 | [53 empty] | 2291.7662

## Interpolation QC
Item | Value
Interpolation version | 0 deg integer-z interpolation with per-column hard cutoffs
Input sparse workbook | b_field_calibration_2x2x2Mag_May2026_0deg_cal_newpos_full.xlsx
Phi guide/reference | Average of standardized +35 deg and -35 deg calibration matrices
Z rows inserted | Integer z positions from 100 down to minimum cutoff
Hard cutoff rule | For each phi, cells with z lower than the last original populated z in that column are black-filled and not interpolated
Existing measured cells preserved | 18
Existing sparse-grid interpolated anchor cells preserved/reused | 100
New integer-z interpolated cells | 690
Black-filled inaccessible cells | 260
Monotonicity violations within accessible ranges | 0
Math | B0(z,phi) = Bref(z,phi) * exp(PCHIP_interp(log(B0_anchor/Bref), log(z)))
Phi | Cutoff z | Anchor count | Min B allowed | Max B allowed | Monotonicity violations
0 | 70 | 4 | 156.006 | 316.8959 | 0
10 | 50 | 7 | 156.447 | 558.3726 | 0
20 | 40 | 8 | 156.535 | 770.4879 | 0
30 | 30 | 10 | 156.297 | 1093.7185 | 0
40 | 22 | 12 | 156.34 | 1492.9425 | 0
50 | 15 | 14 | 156.464 | 2005.5214 | 0
53 | 12 | 15 | 156.505 | 2291.7662 | 0
60 | 17 | 13 | 156.487 | 1840.3379 | 0
70 | 24 | 11 | 156.459 | 1379.3405 | 0
80 | 34 | 9 | 156.699 | 947.5522 | 0
90 | 40 | 8 | 156.665 | 772.7464 | 0
100 | 50 | 7 | 156.3978 | 559.9288 | 0